| THE GOVERNMENT | SOCIALIST REPUBLIC OF VIET NAM Independence Freedom Happiness |
| --- | --- |
| No. 209/2004/ND-CP | Hanoi, December 16th, 2004 |

DECREE

ON QUALITY MANAGEMENT OF CONSTRUCTION WORKS

THE GOVERNMENT

Pursuant to the December 25, 2001 Law on Organization of the Government;
Pursuant to the November 26, 2003 Construction Law;
At the proposal of the Construction Minister;

DECREES:

Chapter I

GENERAL PROVISIONS

Article 1: Scope and subjects of application

This Decree guides the implementation of the Construction Law regarding the quality management of construction works; applies to investors, contractors, organizations and individuals involved in the survey, designing, construction, warranty and maintenance, management and use of construction works in the Vietnamese territory.

Article 2: System of construction standards

1. The system of Vietnamese construction standards consists of construction rules and consists of construction rules and construction standards.

2. Construction rules serve as the basis for the management of construction activities and the promulgation of construction standards.

3. The Construction Ministry shall promulgate construction rules as well as construction standards for civil construction works including public works and dwelling houses, industrial works and technical infrastructures defined in Clause 5, Article 4 of this Decree.

The ministries that manage specialized construction works shall base themselves on the construction rules to pr9omulgate construction standards for specialized works falling under their respective management.

4. Vietnamese construction standards in the following domains must be compulsorily applied:

a. Construction climatic conditions;

b. Hydrogeological, hydrometeorological conditions;

c. Earthquake zoning;

d. Fire and explosion prevention and fighting;

e. Environment protection;

f. Labor safety.

In cases of Points d, e and f of this Clause where Vietnamese standards are unavailable or insufficient, it is permitted to apply foreign standard after they are approved in writing by the branch-managing ministries.

5. The Construction Ministry shall prescribe the application of foreign standards on the Vietnamese territory.

Article 3: Supervision by people of the quality of construction works.

1. Investors must put up signboards in easy-to-see and easy-to-read positions in construction sits, which have the contents prescribed in Article 74 of the Construction Law in order to facilitate the supervision by people.

2. Organization and individuals, when detecting acts of violation related to the quality of construction works, must promptly report them to investors, Peoples Committees of communes, wards or townships where construction works are situated or to competent State management agencies in charge of construction.

3. Recipients of information reported by people shall have to promptly examine and process such information and reply in writing within 15 working days after the date of receiving such information.

Chapter II

CLASSIFICATION AND GRADING OF CONSTRUCTION WORKS

Article 4: Classification of construction works

Construction works are classified as follows:

1. Civil works:

a. Dwelling house, including apartment building and separate houses;

b. Public works, including cultural works; educational works, medical works; trading and service works; office buildings; hotels, guest houses; houses in service of traffic; houses in service of communication, towers for radio and television wave reception and broadcasting; railway stations, bus terminals; sport facilities of all kinds.

2. Industrial works, including coal-mining, ore-mining works; oil and gas-exploitation works; chemical, petrochemical works; petrol, oil and liquefied gas deports and gas and oil distribution pipelines; metallurgical works; mechanical and engineering works; electronics-informatics industrial works; energy works; light industrial works; food industrial works; construction material industrial works; industrial explosive manufacturing works and depots.

3. Traffic works, including road works; railway works; waterway works; bridges; tunnels; airfields.

4. Irrigation works, including: reservoirs; dams; culverts; pumping stations; wells; water pipelines; canals; assorted canal works and embankments

5. Technical infrastructure works, including water supply, water drainage works; waster-water treatment plants; waste treatment works; garbage storing and dumping grounds; garbage treatment plants; urban lighting works.

Article 5: Grading of construction works

1. Construction works are graded according to the levels prescribed in Appendix 1 to this Decree. Work grades shall serve as the basis for the grading and selection of contractors in construction activities; the determination of the number of designing steps and the construction work warranty duration.

2. When the grade of a construction work is prescribed according to many different criteria, it shall be determined according to the highest grades criteria.

Chapter III

QUALITY MANAGEMENT OF CONSTRUCTION SURVEYS

Article 6: Construction surveying tasks

1. Construction surveying tasks shall be elaborated by designing consultancy organizations or construction surveying contractors and approved by investors.

2. Construction surveying tasks must be suitable to the requirements of each type of surveying job and each designing step, and cover the following contents:

a. Surveying purposes;

b. Surveying scope;

c. Surveying methods;

d. Expected volumes of assorted surveying jobs;

e. Applied survey standards;

Article 7: Construction survey technical plans

1. Construction survey technical plans shall be elaborated by construction survey contractors and approved by investors.

2. Construction survey technical plans must satisfy the following requirements:

a. Being suitable to the construction surveying tasks approved by investors;

b. Complying with the applied construction survey standards.

Article 8: Contents of construction survey result reports

1. The contents of a construction survey result report:

a. Major contents of the construction surveying task;

b. Characteristics, size and nature of the work;

c. Position and natural conditions of the construction survey area;

d. Applied construction survey standards;

e. Surveying volume;

f. Surveying process, methods and equipment;

g. Data analysis, survey result evaluation;

h. Proposed technical solutions in service of the designing and construction of the works;

i. Conclusions and recommendations;

j. Reference materials;

k. Enclosed appendices.

2. Construction survey result reports must be checked and accepted by investors according of the provisions of Article 12 of this Decree and shall serve as the basis for carrying out construction designing steps. They must be made in 06 sets; in cases where more than 06 sets are needs, investors shall decide on the number of sets after consulting construction surveying contractors.

3. Construction surveying contractors must be responsible to investors and law for the truthfulness and accuracy of the survey results; compensate for damage caused by their improper performance of surveying tasks, for the increased volumes due to wrong surveys; for damage caused by the use of irrelevant information, materials, regulations and standards on construction surveys, and other acts of violation.

Article 9: Supplementation of construction surveying tasks

1. Construction surveying tasks may be supplemented in the following cases:

a. In the course of conducting construction surveys, construction surveying contractors detect unusual factors that directly affect design solutions;

b. In the course of designing, designing contractors detect that survey documents fail to meet the design requirements;

c. In the course of construction, construction contractors detect unusual factors compared to the survey documents, which directly affect design solutions and construction measures.

2. Investors shall have to consider and decide on the supplementation of surveying contents in the cases defined in clause 1 of this Article at the proposals of designing, construction surveying and/or construction contractors and take responsibility before law for their decisions.

Article 10: Responsibilities of construction surveying contractors for protection of the environment and construction works in the survey areas

In the course of conducting field surveys, construction surveying contractors shall have the responsibilities:

1. Not to pollute water sources, air or cause noise beyond the prescribed limit;

2. To fell trees or crops only when it is so permitted by the organizations of individuals that manage or own such trees or crops;

3. To restore the construction survey sites back to their original conditions;

4. To protect technical infrastructures and other construction works in the survey places or sites. If causing damage to such works, to pay compensation therefore.

Article 11: Supervision of construction surveys

1. Responsibilities for supervising construction surveys:

a. Construction surveying contractors must have a section specialized in self-supervising construction surveys;

b. Investors shall supervise construction surveys on a regular and systematic basis, from commencement till completion of surveys. If not fully capable, investors must hire consultants to supervise construction surveys.

2. Contents of self-supervision of construction surveys by construction surveying contractors:

a. Monitoring and checking the compliance with the construction survey technical plans already approved by investors;

b. Recording monitoring and checking results in construction survey diaries.

3. Contents of supervision of construction surveys by investors:

a. Examining the construction activity capability conditions of construction surveying contractors against the bid document sin terms of manpower, equipment and machinery in service of the surveys, laboratories to be used by construction surveying contractors;

b. Monitoring and examining the survey sits, surveying volumes and the observance of the surveying process according to the approved technical plans. Monitoring and supervising results must be recorded in construction survey diaries;

c. Monitoring and requesting construction surveying contractors to protect the environment and construction works in the survey sites according to the provisions of Article 10 of this Decree.

Article 12: Checking and acceptance of construction survey results

1. Grounds for checking and acceptance of construction survey results:

a. Construction surveying contracts;

b. Construction surveying tasks and technical plans already approved by investors;

c. Applied construction survey standards;

d. Construction survey result reports.

2. Checking and acceptance contents:

a. Assessing the quality of the surveys against the construction surveying tasks and the applied construction survey standards;

b. Checking the construction survey result reports in terms of their presentation and number;

c. Checking and accepting the construction surveying volumes already performed under the signed construction surveying contracts. Where the construction survey results are obtained in accordance with the surveying contracts and applied construction standards but fail to satisfy the investment objectives set by the investors, the investors must still pay for the volumes already checked and accepted in accordance with the contracts.

3. The results of checking and accepting the construction survey result reports must be recorded in writing according to the form prescribed in Appendix 2 to this Decree (not printed herein). Investors shall be accountable before law for he checking and accepting of the construction survey result reports.

Chapter IV

QUALITY MANAGEMENT OF WORK CONSTRUCTION DESIGNS

Article 13: Technical designs

1. Grounds for creation of technical designs:

a. Designing tasks and basis designs in the approved construction investment projects;

b. Reports on the construction survey results at the basic designing step, additional construction survey data and other conditions at the construction sites in service of the technical designing step;

c. Applied construction rules and standards;

d. Other requirements of the investors.

2. Technical design dossiers must accord with basic designs and approved construction investment projects, each consisting of:

a. The written explanation, covering the contents defined in the Governments Decree on management of construction investment projects, reconsidering and clarifying the selected plan on production techniques, technological chains and equipment, comparing economic and technical criteria, checking figures used as the designing basis; technical indications; explicating the contents not yet demonstrated in the design drawings and other contents requested by the investors.

b. Drawing, which must demonstrate in detail major dimensions and technical parameters as well as main materials, ensuring sufficient conditions for the making of cost estimates, total cost estimates and the creation of work construction drawing designs;

c. Cost estimates, total cost estimates for the construction of works.

Article 14: Construction drawing designs

1. Grounds for creation of construction drawing designs:

a. Designing tasks approved by the investors, for cases of one-step designing; the approved basis designs, for cases of two-step designing; the approved engineering designs, for cases of tree-step designing;

b. Applied construction standards and technical indications;

c. Other requirements of the investors.

2. A construction drawing design dossier consists of:

a. The written explanation, which must fully explain the contents not yet demonstrated in the drawings so that builders can correctly follow the designs;

b. Drawings, which must demonstrate in detail all parts of the works, their structures with full dimensions, materials and technical parameters to ensure the precise construction and sufficient conditions for the making of construction cost estimates;

c. Construction cost estimates.

Article 15: Requirements on the specifications of construction design dossiers

1. Construction design drawing must have sizes, scales and title frames and the demonstrated according to construction standards. In the title frame of each drawing three must be the names and signatures of the designers, design employers, design managers, representatives-at-law of the designing contractors and the stamps of the construction designing contractors, except fro cases where designing contractors are independent practitioners.

2. Written explanations, design drawings and cost estimates must be bound into design dossier files according to a uniform format, containing document lists, serial numbers and symbols for reference, and be preserved for a long time.

Article 16: Checking and acceptance of construction design dossiers

1. Design products, before being put to construction, must be check, accepted and certified by investors. Investors must be responsible for design drawings handled to construction contractors. Reports on the checking and acceptance of construction design dossiers shall be made according to the form prescribed in Appendix 3 to this Decree (not printed herein).

2. Grounds for checking and acceptance of construction design dossiers:

a. Construction designing contracts;

b. Approved designing tasks, designing steps;

c. Applied construction rules and standards;

d. Construction design dossiers shall each consist of the written explanation, design drawings, cost estimate or total cost estimate

3. Contents of checking and acceptance

a. Assessing the design quality;

b. Checking the construction design dossiers in terms of their form and quantity.

4. Depending on the nature, size and requirements of construction works, investors may hire fully capable consultants suitable to the type and grade of works to verity the designs and take responsibility for the verification results. Where a design fails to satisfy the requirements as contracted, the designing contractor must redesign and bear all costs, including design verification costs.

5. Construction designing contractors shall be accountable to investors and law for the quality of construction designs and must compensate for damage caused by their use of irrelevant information, documents, construction rules and standards, technical solutions, technologies, thereby affecting the quality of construction works, and other acts of violation.

Article 17: Change of construction designs

1. The approved construction designs may be changed only in the following cases:

a. The construction investment project are adjusted, thus requiring the change of the designs;

b. Irrationalities are detected in the course of construction and if the designs are not changed, the quality of the works, construction progress, construction methods and/or investment efficiency of the projects will be affected.

2. Where the construction design drawings are changed without causing any changes in the approved engineering designs or basic designs, investors or their construction supervising contractors shall be allowed to amend the designs. Those who amend the designs must sign their names and be responsible for the amendment.

Chapter V

MANAGEMENT OF CONSTRUCTION QUALITY

Article 18: Organization of construction quality management

1. Construction quality management includes quality management activities of construction contractors; construction supervision and construction work checking and acceptance by investors; author supervision by construction designing contractors.

2. Construction contractors must have a quality management system to perform the contents of construction quality management as prescribed in Article 19 and Article 20 of this Decree.

3. Investors must organize the construction supervision according to the contents prescribed in Article 21 of this Decree. Where an investor has no fully qualified supervision consultancy organization, it must hire a construction supervision consultant with sufficient construction activity capability conditions to conduct such supervision. Investors shall organize by themselves the checking and acceptance of construction works.

4. Construction designing contractors shall conduct author supervision according to the provisions of Article 22 of this Decree.

Article 19: Construction quality management by contractors

1. Contents of contractors construction quality management:

a. Setting up a quality management system suitable to the requirements, nature and size of construction works, defining the responsibility of each individual builder or building section for managing the quality of construction works;

b. Performing experiments to test construction materials, structures, supplies, equipment and technological equipment before construction and installation into construction works according to design standards and requirements;

c. Planning and conducting the examination of construction methods and progress;

d. Opening, and make entries in, construction diaries according to regulations;

e. Examining labor safety and environmental sanitation inside and outside the construction sites;

f. Checking and accepting internally and making construction completion drawings for completed construction parts, construction items and works;

g. Reporting to investors on the construction progress, quality and volumes, labor safety and environmental sanitation in the construction sites at the investors requirements;

h. Preparing documents to serve as the basis for checking and acceptance according to the provisions of Articles 24, 25 and 26 of this Decree and make written requests for checking and acceptance by investors.

2. Construction contractors must be accountable to investors and law for the quality of jobs they have done; compensate for damage caused by their contract breaches, use for materials of wrong types, poor-quality construction, for failures, environmental pollution and damage caused by their other acts.

Article 20: Construction quality management by general contractors

1. General contractors shall manage the construction quality according to the provisions of Clause 1, Article 19 of this Decree.

2. General contractors shall supervise the quality of construction performed by subcontractors according to the provisions of Clause 1, Article 21 of this Decree.

3. General contractors must be accountable to investors and law for the quality of jobs undertaken by them and done by subcontractors; compensate for damage caused by their contract breaches, use of materials of wrong types, poor-quality construction, for failures, environmental pollution and damage caused by their other acts of violation.

4. Subcontractors shall be accountable to general contractors for the quality of jobs they have done.

Article 21: Construction quality supervision by investors

1. Contents of construction quality supervision by investors:

a. Checking the conditions for commencement of construction of works according to the provisions of Article 72 of the Construction Law;

b. Checking the relevance of the construction contractors capabilities to the bid dossiers and construction contracts, including:

- Checking the construction contractors construction manpower and equipment brought into the construction sites;

- Checking the construction contractors quality management system;

- Checking the permits for use of machinery, equipment and supplies subject to safety requirement in service of construction;

- Checking the construction contractors laboratories and establishments manufacturing construction materials, structures and products in service of the construction.

c. Checking and supervising the quality of supplies, materials and equipment to be installed in the works, which are supplied by the construction contractors according to the design requirements, including:

- Checking the manufacturers quality certificates, the testing results of standard-complying laboratories and the results of equipment quality expertise conducted by organizations recognized by competent State bodies with regard to construction materials, structures, products and equipment to be installed in the works before they are put under construction;

- When doubting the results of the checking of the quality of materials and equipment to be installed in the works, which are supplied by the construction contractors, investors may check by themselves such supplies, materials and equipment.

d. Checking the construction methods applied by the construction of works, including:

- Checking the construction methods applied by the construction contractors;

- Checking and supervising on a regular and systematic basis the process of performance of jobs by the construction contractors at the construction sites. The checking results must be recorded in the investors supervision diaries or checking reports according to regulations;

- Certifying construction completion drawings;

- Checking and accepting construction works according to the provisions of Article 23 of this Decree;

- Collecting and checking documents serving the checking and acceptance of construction jobs, construction parts, construction stages, the checking and acceptance of equipment, the checking and acceptance of each completed construction item and the completed construction work;

- Detecting design errors and irrationalities and redress them or request the designing contractors to redress them;

- Re-expertising the quality of construction parts, construction items and the whole construction works when doubting their quality;

- Assuming the prime responsibility for, and coordinating with the concerned parties in, settling problems arising in the course of construction of works.

2. Contents of construction quality supervision by investors with regard to general contracts:

a. In case of performance of general construction contracts and general engineering, procurement and construction (EPC) contracts:

- Performing the jobs defined at Point a, Point b and Point c, Clause 1 of this Article with regard to general contractors and subcontractors;

- Checking and supervising general construction contractors according to Point d, Clause 1 of this Article;

- Joining general contractors in checking and supervising the construction by subcontractors.

b. In case of performance of general turnkey contract :

- Investors shall approve the progress of construction of works and the time for checking and acceptance of completed construction works;

- Before checking and accepting completed works, investors shall receive documents and expertise the quality of construction works if deeming it necessary for use as the basis for the checking and acceptance.

3. Investors must notify decisions on the tasks and powers of construction supervisors to construction contractors and construction designing contractors for collaboration.

4. Investors shall have to compensate for their contract breaches to construction contractors; be accountable before law for poor-quality checking and acceptance, thereby distorting the checking and acceptance results, for checking and acceptance of wrong volumes, volumes performed at variance with designs, and other acts of violation. Upon detecting construction quality-related wrong-doing committed by construction contractors, investors must force the contractors to stop construction and ask them to remedy consequences.

5. Investors construction supervision contractors must compensate for damage caused by their contract breaches; be accountable before law and investors for the poor-quality checking and acceptance conducted not in accordance with the applied standards and technical indications, at variance with designs, and other damage-causing acts.

Article 22: Author supervision by construction designing contractors

1. Construction designing contractors shall appoint fully capable persons to conduct author supervision according to regulations in the construction process.

2. When detecting construction performed at variance with designs, persons conducting author supervision must record such in the investors supervision diaries and request compliance with the designs. In case of failure to redress the wrong construction, construction designing contractors shall notify investors thereof in writing. Any design changes in the construction process must comply with the provisions of Article 17 of this Decree.

3. Construction designing contractors shall have to participate in checking and accepting construction works when so requested by investors. Through supervision, if detecting that construction items or construction works are not qualified for acceptance, construction designing contractors must inform investors thereof in writing, clearly stating the reasons for non-acceptance.

Article 23: Organization of checking and acceptance of construction works

1. Construction contractors must organize by themselves the checking and acceptance of construction jobs, particularly hidden jobs and parts; construction parts, construction items and whole works before requesting the checking and acceptance by investors. For construction jobs already checked and accepted but not yet promptly performed, they must be re-checked before being performed. For construction jobs and stages which, after being checked and accepted, are transferred to other contractors for continued performance, they must be certified, checked and accepted by such subsequent contractors.

2. Investors shall have to organize the checking and acceptance of construction works immediately after receiving the construction contractors written requests for checking and acceptance. The checking and acceptance of construction works is phased out as follows:

a. Checking and acceptance of each construction job in the course of construction;

b. Checking and acceptance of completed construction parts or construction stages;

c. Checking and acceptance of completed construction items or construction works before they are put to use.

3. Completed construction items and completed construction works may be put to use only after they are checked and accepted by investors.

4. When investors and/or contractors are foreign persons, the checking and acceptance reports, and the construction completion drawing of completed construction parts or works shall be made in Vietnam and a foreign language selected by investors.

Article 24: Checking and acceptance of construction jobs

1. Grounds for checking and acceptance of construction jobs:

a. Written checking and acceptance requests of construction contracts;

b. Construction drawing design dossiers approved by investors and approved design changes;

c. Applied construction rules ad standards;

d. Technical instruction manuals enclosed with construction contracts;

e. Results of material and equipment quality checks and test performed in the course of construction;

f. Construction diaries, supervision diaries of investors and other documents related to the checked and accepted objects;

g. Reports on the construction contractors internal checking and acceptance of construction jobs.

2. Checking and acceptance contents and order:

a. Checking the object subject to checking and acceptance at the construction sites: construction jobs and equipment statically installed at the sites;

b. Checking the results of tests and measurements which the construction contractors must perform to determine the quality and volumes of construction materials, structures and equipment to be installed in the works;

c. Assessing the compliance of construction jobs and equipment installation with the designs, construction standards and technical instruction manuals;

d. Checking and accepting before allowing the performance of subsequent jobs. The results of checking and acceptance of construction jobs shall be recorded according to the forms prescribed in Appendix 4a and Appendix 4b to this Decree (not printed herein). Persons directly engaged in the checking and acceptance must sign and write their full names in the checking and acceptance reports.

3. Participants in the checking and acceptance:

a. Construction supervisors of investors or construction supervisors of general contractors for general contracts;

b. Construction contractors persons in charge of construction techniques.

In case of general contracts, investors construction supervisors shall participate to oversee the general contractors faults, the construction contractors must remedy consequences and bear all costs, including re-expertising costs. Where jobs are not accepted due to the investors faults, the investors shall have to remedy consequence and indemnify construction contractors for any losses.

Article 25: Checking and acceptance of construction parts or construction stages

1. Grounds for checking and acceptance of construction parts or construction stages:

a. Documents stated at Point a, b, c, d, e and f, Clause 1, Article 24 of this Decree and other experiment results;

b. Reports on the checking and acceptance of jobs belonging to construction parts or construction stages to be checked and accepted;

c. Construction completion drawing of construction parts;

d. Reports on the checking and acceptance of completed construction parts and construction stages, conducted internally by construction contractors;

e. Preparatory work for deployment of subsequent construction stages;

2. Contents and order of checking and acceptance:

a. Checking the objects subject to checking and acceptance at the construction sites: construction parts, construction stages, conducting trial single-action and multiple-action non-load operation;

b. Checking the results of tests and measurements already performed by construction contractors;

c. Checking the construction completion drawings of construction parts;

d. Concluding on the compliance with the approved construction designs and construction standards; allowing the shift to another construction stage. The checking and acceptance results shall be recorded in writing according to the forms prescribed in Appendices 5a, 5b and 5c to this Decree.

3. Participants in the checking and acceptance:

a. Investors persons in charge of the construction supervision sections or general contractors persons in charge of the construction supervision sections in case of checking and accepting construction parts or construction stages accepting construction parts or construction stages performed by subcontractors.

b. Construction contractors persons in charge of construction;

In case of general contracts, investors persons in charge of the construction supervision section shall participate to oversee the general contractors checking and acceptance of job done by subcontractors.

Article 26: Checking and acceptance of completed construction items or construction works before they are put to use.

1. Grounds for checking and acceptance of completed construction items or construction works before they are put to use:

a. Documents stated at Point a, b, c, d, e and f, Clause 1, Article 24 of this Decree;

b. Reports on the checking and acceptance of construction parts or construction stages;

c. Results of experiments, adjustment, and multi-action load operation of the technological equipment system;

d. Construction completion drawings of construction works;

e. Reports on the checking and acceptance of completed construction items or construction works, conducted internally by construction contractors;

f. Competent State bodies written approvals regarding fire and

explosion prevention and fighting; environmental safety and operation safety according to regulations.

2. Contents and order of checking and acceptance of completed construction items or construction works:

a. Inspecting the sites;

b. Checking the construction completion drawings of construction works;

c. Checking the results of trial operation of the entire technological equipment and machine systems;

d. Checking competent State bodies written approvals regarding fire and explosion prevention and fighting; environmental safety and operation safety;

e. Checking the operation procedures and maintenance procedures of construction works;

f. Approving the checking and acceptance for putting construction works to operation and sue. Checking and acceptance reports must be made according to the forms prescribed in Appendix 6 and Appendix 7 to this Decree.

3. Participants in the checking and acceptance include:

a. On the investors side:

- The investors representatives-at-law and persons in charge of the construction supervision sections;

- The construction supervising contractors representative-at-law and persons in charge of the construction supervision sections.

b. On the construction contractors side:

- Representatives-at-law;

- Persons in charge of field construction.

c. On the side of construction designing contractors participating in the checking and acceptance at the request of the construction works investors:

- Representatives-at-law;

- Design managers;

Article 27: Construction completion drawings

1. Construction completion drawings are drawings of completed construction parts or construction works, reflecting the actual dimensions compared to the design dimensions, made on the basis of the approved construction design drawings. All changes compared to the approved designs must be reflected on the construction completion drawings.

Where the actual dimensions and parameters of construction parts or construction works are the same as those of the construction drawing designs, the design drawings in question shall be construction completion drawings.

2. Construction contractors shall have to make construction completion drawings of construction parts and construction works. In such drawings there must be the full names and signatures of their makers. Construction contractors representatives-at-law must sign and affix stamps thereon. Construction completion drawings shall serve as the basis for warranty and maintenance.

3. Construction completion drawings shall be signed for certification by investors’ construction supervisors.

Article 28: Checking and certification of construction quality compliance

1. For construction works where incidents, once occurring, can cause disasters, they must be checked and certified in terms of their quality compliance in order to ensure safety before they are put to operation and use. These works include:

a. Public works where people gather in large numbers, such as theaters, cinemas, circuses, school buildings, stadiums, gymnasiums, department stores, and construction works with similar functions;

b. Apartment buildings, office buildings, multi-story hotels;

c. Chemical and petrochemical works, oil and gas depots;

d. Big dykes, dams, bridges, tunnels;

2. Important works which must have their quality checked and certified at the Prime Ministers requests.

3. It is encouraged to check and certify the construction quality compliance of construction works not mentioned in Clause 1 and Clause 2 of this Article.

4. The Construction Ministry shall guide the checking and certification of the quality compliance of construction works.

Chapter VI

WARRANTY OF CONSTRUCTION WORKS

Article 29: Warranty of construction works

1. The warranty duration shall start from the date the investors sign the reports on checking and acceptance of completed construction items or construction works for being put to use an are prescribed as follows;

a. Not shorter than 24 months, for all types of works of special grade and grade I;

b. Not shorter than 12 months, for other works.

2. Levels of warranty money for construction works:

a. Construction contractors and equipment supply contractors shall have to pay warranty money into investors contracts at the following levels:

- 3% of the contractual value for construction works or construction items specified at Point a, Clause 1 of this Article;

- 5% of the contractual value for construction works or construction items specified at Point b, Clause 1 of this Article.

b. Construction contractors and equipment supply contractors shall only be refunded the warranty money for construction works after the expiration of the duration and after the obtaining the investors certifications of the completion of the warranty work;

c. Warranty money for construction works and their equipment shall enjoy interest agreed upon by the two involved parties, construction contractors and investors may reach agreement on the substitution of the warranty money for construction works with the banks letters of underwriting of equivalent value.

Article 30: Responsibilities of involved parties for warranty for construction works

1. Investors, owners or use managers of construction works shall have the responsibilities:

a. To check the conditions of construction works, detect failures and request construction contracts and/or equipment supply contractors to repair and replace. Where contractors fail to provide proper warranty, investors, owners or use managers of construction works may hire other contractors. Hiring costs shall be paid from the warranty money for construction works;

b. To supervise, check and accept the remedy and repair by construction contractors and equipment supply contractors;

c. To certify the completion of warranty for construction works by construction contractors and equipment supply contractors.

2. Construction contractors and equipment supply contractors shall have the responsibilities;

a. To organize the remedy of failures immediately after receiving the requests of investors, owners or use managers of construction works and bear all costs thereof;

b. To refuse to provide warranty for construction works and their equipment in the following cases:

- Construction works and their equipment are out of order not due to the contractors faults;

- Investors commit violations of construction legislation and therefore are forced by competent State bodies to dismantle;

- Equipment or construction works are used at variance with operation procedures.

3. Construction surveying contractors, construction designing contractors, construction contractors, construction supervising contractors must compensate for damage or incidents caused to construction works due to their faults even after the expiration of the warranty duration and, depending on the seriousness of their violations, may be handled according to law provisions.

Chapter VII

MAINTENANCE OF CONSTRUCTION WORKS

Article 31: Levels of maintenance of construction works

1. Construction works, after being checked, accepted and put to use, must be maintained for long-term operation. The maintenance of construction works shall be carried out at the following levels:

a. Maintenance level;

b. Minor repair level;

c. Medium repair level;

d. Major repair level.

2. The contents and methods of construction work maintenance at different levels shall comply with maintenance procedures.

Article 32: Construction work maintenance duration

1. The construction work maintenance duration shall start from the date of checking, acceptance and putting of construction works to use till the expiry of their useful life prescribed by construction designing contractors.

2. Where construction works are already beyond their useful life but still requested to be further used, competent State management agencies must consider and decided to permit such use on the basis of the expertise and assessment of the works quality conditions conducted by fully capable consultancy organizations. Persons who issue decisions permitting the use of construction works shall be responsible for their decisions.

Article 33: Construction work maintenance procedures

1. For newly built construction works, designing contractors, equipment manufacturers shall work out the maintenance procedures suitable to the types and grades of such construction works. For construction works being in use for which maintenance procedures are unavailable, their owners or use managers must hire consultancy organizations to expertise their quality and work out their maintenance procedures.

2. Construction design contractors shall work out maintenance procedures for each type of construction work on the basic of relevant technical standards for construction work maintenance.

Article 34: Responsibilities of owners or use managers of construction works for construction work maintenance

Owners, use managers of construction works shall have the following responsibilities for construction work maintenance:

1. To organize the maintenance of construction works in accordance with construction work maintenance procedures.

2. To be accountable before law for the degraded quality of construction works due to non-compliance with the prescribed construction work maintenance procedures.

Chapter VIII

INCIDENTS OF CONSTRUCTION WORKS

Article 35: Contents of handling of incidents of construction works

1. Prompt incident reports:

a. Investors make reports on incident occurring at the construction works under construction;

b. Owners or use managers make reports on incidents occurring at construction works being in use, operation or exploitation;

c. Construction work incident reports shall be sent to the provincial-level Peoples Committees State management agencies in charge of construction. Where incidents occur in construction works of grade I or higher grades or incidents occur in construction works of all grades, inflicting damage, construction work owners or use managers must also report such incidents to the investment decision makers and the Construction Ministry.

Prompt incident reports shall be made according to the form prescribed in Appendix 8 to this Decree (not printed herein) within 24 hours after the incidents occur.

2. Clearance of incident scenes:

a. Before clearing the incident scenes, construction work incident dossiers must be compiled;

b. After obtaining full documents for the identification of the causes of construction work incidents, construction contractors, investors or use managers shall be permitted to proceed with the clearance of the incident scenes;

c. In cases where it is urgent to provide medical emergency for victims and prevent incidents from causing subsequent disasters, the responsible persons defined at Points a and b, Clause 1 of this Article shall be permitted to dismantle or clear up the incident scenes, Before doing so, investors or use mangers must take photos, shoot films or record images, gather evidence, and take notes in service of later investigation of the incidents.

3. Remedy of incidents:

a. The causes of incidents must be accurately identified and thoroughly remedied;

b. Organizations or individuals causing construction work incidents shall have to compensate for all damage and bear all expenses for he remedy of incidents, and, depending on the seriousness of their violations, may be handled according to law provisions;

c. Where construction work incidents occur due to force majeure causes, investors or insures, for insured construction works, shall have to bear expenses for the remedy of incidents.

Article 36: Construction work incident dossiers

1. When incidents occur at construction works, investors, owners or use managers shall have to compile dossiers of such construction work incidents.

Where it is necessary to investigate and assess the seriousness and causes of incidents, if construction work investors or use manager are incapable of doing so, they must hire construction consultancy organizations which are fully capable according to regulations to investigate, assess and identify the causes of incidents, clearly determine the liability of persons causing construction work incidents.

2. A construction work incident dossier consists of:

a. The report on the inspection of the incident scene, made according to the form prescribed in Appendix 9 to this Decree;

b. Written description of the occurrence of the incident;

c. Results of investigation, assessment, determination of the seriousness and cause of the incident;

d. Documents on the design and construction of the work, which are related to the incident.

Chapter IX

ORGANIZATION OF IMPLEMENTATION

Article 37: State management responsibilities for the quality of construction works

1. The Construction Ministry shall perform the uniform State management over the quality of construction works nationwide. The Ministries managing specialized construction works shall coordinate with the Construction Ministry in managing the quality of specialized construction works.

2. The provincial-level Peoples Committees shall, according to their decentralized powers, have to perform State management over the quality of construction works within the localities under their respective management.

Article 38: Organization of implementation

1. The Ministries, the ministerial-level agencies, the Government-attached agencies, and the provincial-level Peoples Committees shall annually examine the quality of construction works under their respective management and send reports thereon to the Construction Ministry for sum-up report to the Prime Minister.

2. The Ministers, the heads of the ministerial-level agencies, the heads of the Government-attached agencies, and the presidents of the provincial-level Peoples Committees shall, within the scope of their respective tasks and powers, have to organize the implementation of this Decree.

3. The Construction Minister shall assume the prime responsibilities for, and coordinate with the concerned ministries and branches in, guiding the implementation of this Decree.

Article 39: Implementation effect

This Decree takes implementation effect 15 days after its publication in the Official Gazette. All regulations guiding the management of the quality of construction works, which are contrary to this Decree, are hereby annulled.

|  | ON BEHALF OF THE GOVERNMENT PRIME MINISTER Phan Van Khai |
| --- | --- |

FILE ATTACHMENT