| THE MINISTRY OF NATURAL RESOURCES AND ENVIRONMENT -------- | SOCIALIST REPUBLIC OF VIETNAM Independence - Freedom - Happiness ---------------- |
| --- | --- |
| No. 22/2006/QĐ-BTNMT | Hanoi, December 18, 2006 |

DECISION

ON THE COMPULSORY APPLICATION OF VIETNAM’S STANDARDS ABOUT THE ENVIRONMENT.

THE MINISTER OF NATURAL RESOURCES AND ENVIRONMENT

Pursuant to the Law on Environment protection dated November 29th 2005;

Pursuant to the Government's Decree No. 80/2006/NĐ-CP dated August 09th 2006 detailing and guiding the implementation of a number of articles of the Law on Environment protection;

Pursuant to the Government's Decree No. 91/2002/NĐ-CP dated November 11th 2002 defining the functions, tasks, powers and organizational structure of the Ministry of Natural Resources and Environment;;

After reaching an agreement with the Ministry of Science and Technology on the replacement of the Vietnam’s Standards about the environment promulgated together with the Decision No. 35/2002/QĐ-BKHCNMT dated June 25th 2002 of the Minister of Natural Resources and Environment. (The Official Dispatch No. 2907/BKHCN-TĐC dated October 30th 2006);

At the proposal of the Director of the Environment Department and the Director of the Legal Department,

DECISIONS:

Article 1. Making compulsory the application of 05 Vietnam’s Standards about the environment,  promulgated by the Minister of Science and Technology in the Decision No. 1696/QĐ-BKHCN dated July 28th 2006,:

- TCVN 5937:2005 - Air quality - Ambient air quality standards.

- TCVN 5938:2005 - Air quality - Maximum permissible concentration of hazardous substances in ambient air.

- TCVN 5939:2005 - Air quality - Industrial emission standards - Inorganic substances and dusts.

- TCVN 5940:2005 - Air quality - Industrial emission standards - Organic substances.

- TCVN 5945:2005 - Industrial waste water - Discharge standards.

Article 2. Applying Column B, Table 1 in TCVN 5939:2005, the coefficient of region (Kv) and the coefficient of wastewater flow rate (Kp) to the new producing, processing, trading, and constructing establishments.

Applying Column A, Table 1 in TCVN 5939:2005, the coefficient of region (Kv) and the coefficient of wastewater flow rate (Kp) to the new producing, processing, trading, and service-providing establishments that commence their operation from January 01st 2003 until this Decision takes effect.

Applying Column A, Table 1 in TCVN 5939:2005 to the establishments that commence their operation before January 01st 2003.

Applying Column B, Table 1 in TCVN 5939:2005, the coefficient of region (Kv) and the coefficient of wastewater flow rate (Kp) to all producing, processing, trading, and service-providing establishments on from January 01st 2011.

The values of coefficients and the methods of calculating the maximum concentrations of the factors of pollution are provided in Annex 1 promulgated together with this Decision.

Article 3. Applying the coefficient of flow rate/storage capacity (Kq) and the coefficient of wastewater flow rate (Kf) to the standards of Industrial waste water - TCVN 5945:2005.

The values of coefficients and the methods of calculating the maximum concentrations of the factors of pollution are provided in Annex 2 promulgated together with this Decision.

Article 4. Annulling TCVN 5937:1995, TCVN 5938:1995, TCVN 5939:1995, TCVN 5940:1995, TCVN 5945:1995, TCVN 6980:2001, TCVN 6981:2001, TCVN 6982:2001, TCVN 6983:2001, TCVN 6984:2001, TCVN 6985:2001, TCVN 6986:2001, TCVN 6987:2001, TCVN 6991:2001, TCVN 6992:2001, TCVN 6993:2001, TCVN 6994:2001, TCVN 6995:2001 and TCVN 6996:2001 in the List of Vietnam’s Standards about the environment promulgated together with the Decision No. 35/2002/QĐ-BKHCNMT dated June 25th of the Minister of Natural Resources and Environment.

Article 5. This Decision takes effect after 15 days as from the date of its publication on the Official Gazette.

The Ministers, Heads of ministerial-level agencies, Heads of Governmental agencies, the Presidents of People’s Committees of central-affiliated cities and provinces, relevant organizations and individuals shall implement this Decision./.

|  | THE MINISTER Mai Ai Truc |
| --- | --- |

ANNEX 1

DECISION

COEFFICIENT OF WASTEWATER FLOW RATE (KP), COEFFICIENT OF REGION (KV) AND THE METHOD OF CALCULATING THE MAXIMUM PERMISSIBLE CONCENTRATION OF POLLUTANTS IN INDUSTRIAL EMISSION
(Promulgated together with the Decision No. 22/2006/QĐ-BTNMT dated December 18th 2006 of the Minister of Natural Resources and Environment)

1. The formula for calculating the maximum permissible concentration of pollutants in industrial emission

The maximum permissible concentration of the pollutants in the emission discharged into the environment by the establishments is calculated as follows:

Cmax=C x Kp x Kv

In particular:

Cmax is the maximum permissible concentration of pollutants in the emission discharged to the environment by the producing and trading establishments, expressed in milligram per cubic meter of emission in standard condition (mg/Nm3);

C is the value of the maximum permissible concentration of pollutants in TCVN 5939:2005;

Kp is the coefficient of wastewater flow rate;

Kv is the coefficient of the region where the establishments are situated.

2. Value of Kp

The values of Kp are provided in Table 1A below.

Table 1A: Values of Kp corresponding to the flow rate of wastewater discharged by the producing and trading establishments.

| Wastewater flow rate; Unit: cubic meter per hour (m3/h) | Giá trị hệ số Kp |
| --- | --- |
| P £ 20,000 | 1 |
| 20,000 < P £100,000 | 0.9 |
| P >100,000 | 0.8 |

P is the total flow rate of the emission discharged to the environment by a producing or trading establishment.

3. Value of Kv

The values of Kv are provided in Table 2A below.

Table 2A: Values of Kv corresponding to the region where the producing or trading establishment is situated.

| Region | Region | Value of Kv |
| --- | --- | --- |
| Region 1 | Urban areas of cities in special class(1) and cities in class I(1); specialized forests(2); classified natural, historical, and cultural heritages(3); producing establishments, processing establishments, and service-providing establishments from which the distances to the boundary these areas are shorter than 02 km. | 0.6 |
| Region 2 | The urban areas of cities in in class II, III, IV (1); suburban areas of cities in special class and class I from which the distances to the boundary of the urban area are ≥ 2 km; classified natural, historical, and cultural heritages; the producing establishments, processing establishments, and service-providing establishments from which the distances to the boundary these areas are shorter than 02 km. | 0.8 |
| Region 3 | Industrial zones; urban areas of cities in class V (1); suburban areas of cities in class II, III, IV from which the distances to the boundary of the urban area are ≥ 2 km;; the producing establishments, processing establishments, and service-providing establishments from which the distances to the boundary these areas are shorter than 02 km(4). | 1.0 |
| Region 4 | Rural areas. | 1.2 |
| Region 5 | Rural areas in highland | 1.4 |

Notes:

(1) Cities are classified in the Government's Decree No. 27/2001/NĐ-CP dated October 5th 2001 on the classification and management of cities.

(2) Specialized forests in the Law of forest protection and development dated December 14th 2004 include: National parks, wildlife sanctuaries, scenery conservation areas; forests for scientific research and experiments;

(3) The natural heritages, cultural and historical remains classified and accredited by UNESSCO, the Prime Minister or Ministries in charge.

(4) if the distances from a producing establishment to the boundaries of 02 or more regions is shorter than 2 km, then the respective Kv coefficients of region 1, 2, 3, 4, and 5 shall apply  (the respective Kv is 0.6; 0.8; 1; 1.2; and 1.4).

ANNEX 2

DECISION

COEFFICIENT OF WASTEWATER FLOW RATE (KF), COEFFICIENT OF FLOW RATE/STORAGE CAPACITY OF THE OUTLET (KQ), AND THE METHOD OF CALCULATING THE MAXIMUM PERMISSIBLE CONCENTRATION OF POLLUTANTS IN INDUSTRIAL WASTEWATER
(Promulgated together with the Decision No. 22/2006/QĐ-BTNMT dated December 18th 2006 of the Minister of Natural Resources and Environment)

1. The formula for calculating the maximum permissible concentration of pollutants in industrial wastewater

a) The maximum permissible concentration of the pollutants in the wastewater discharged to the outlets by the producing are trading establishments is calculated as follows:

Cmax=C x Kq x Kf

In particular:

Cmax is the maximum permissible concentration of the pollutants in the wastewater discharged to the outlets  by producing and trading establishments, expressed in milligram per liter of wastewater (mg/l);

C is the value of the maximum permissible concentration of pollutants in TCVN 5945:2005;

Kq is the coefficient of the flow rate/storage capacity of the outlet;

Kf  is the coefficient of the wastewater flow rate.

b) Do not use the formula for calculating the maximum permissible concentration of pollutants in industrial wastewater for column C and the factors No. 1 to 4, from No. 34 to 37 provided in Table 1 of TCVN 5945:2005.

2. Value of Kq

a)The values of Kq of wastewater outlets being rivers are provided in Table 1B below.

Table 1B: Values of corresponding to the flow rate of the rivers that receive wastewater

| Flow rate of the river that receives wastewater Unit: cubic meter per hour (m3/s) | Value of Kq |
| --- | --- |
| Q £ 50 | 0.9 |
| 50 < Q £ 200 | 1 |
| Q > 200 | 1.1 |

Q is the flow rate of the river that receives wastewater. The value of Q is calculated according to the average value of the 3 driest months in 03 consecutive years (data from the National Meteorology and Hydrography Service). For channels and small streams that do not have information about their flow rate, Kq = 0.9

b)The values of Kq of wastewater outlets being lakes are provided in Table 2B below.

Table 2B: Value of Kq corresponding to the storage capacity of the that receives wastewater

| Volume of the lake that receives wastewater; Unit: million cubic meter (106 m3) | Value of Kq |
| --- | --- |
| V £ 10 | 0.6 |
| 10 < V £ 100 | 0.8 |
| V > 100 | 1.0 |

V is the volume of the lake that receives wastewater; The value of V is calculated according to the average value of the 3 driest months in 03 consecutive years (data from the National Meteorology and Hydrography Service).

c) For the outlets of industrial wastewater being coastal seawater Kq=1.2. For the outlets of industrial wastewater being coastal seawater used for protecting aquatic organisms; water sports and entertainment, Kq=1.

3. Value of Kf

The values of Kf  are provided in Table 3B below.

Table 3B: Value of Kf corresponding to the flow rate of wastewater.

| Flow rate of wastewater Unit: million cubic meter per day (m3/24h) | Value of Kf |
| --- | --- |
| F £ 50 | 1.2 |
| 50 < F £ 500 | 1.1 |
| 500 < F £ 5000 | 1.0 |
| F > 5000 | 0.9 |

4. The application of new factors of pollution and the stricter factors to the operating producing and trading establishments.

Applying the new factors compared to the TCVN 5945:1995, numbered 3; 4; 25; 27; 30; 35 in Table 1 5945:2005 on January 01st 2008 at the latest.

Stricter factors: COD in column B; Cadimi; Nickel in column B; gross nitrogen; Coliform shall temporarily apply the values provided in Table 1 TCVN 5945:1995. on January 01st 2008 at the latest, all producing and trading establishments must apply TCVN 5945:2005, the coefficient of flow rate/storage capacity of the outlet (Kq), and coefficient of wastewater flow rate (Kf).

------------------------------------------------------------------------------------------------------
This translation is made by LawSoft, for reference only. LawSoft is protected by copyright under clause 2, article 14 of the Law on Intellectual Property. LawSoft always welcome your comments