| MINISTRY OF SCIENCE AND TECHNOLOGY -------- | SOCIALIST REPUBLIC OF VIETNAM Independence - Freedom - Happiness --------------- |
| --- | --- |
| No. 25/2007/QĐ-BKHCN | Hanoi, October 05, 2007 |

DECISION

ON THE APPLICATION OF PROCEDURE AND CYCLES OF VERIFICATION OF MEASUREMENT INSTRUMENTS IN THE LIST OF MEASUREMENT INSTRUMENTS THAT NEED VERIFYING

THE MINISTER OF SCIENCE AND TECHNOLOGY

Pursuant to the Ordinance on Measurement dated October 06, 1999;

Pursuant to the Government's Decree No. 06/2002/NĐ-CP dated January 14, 2002 elaborating the implementation of the Ordinance on Measurement;

Pursuant to the Government's Decree No. 54/2003/NĐ-CP dated May 19, 2003 defining the functions, tasks, entitlements and organizational structure of the Ministry of Science and Technology and the Government's Decree No. 28/2004/NĐ-CP dated January 16, 2004 on amendments to the Decree No. 54/2003/NĐ-CP;

Pursuant to the Decision No. 13/2007/QĐ-BKHCN dated July 06, 2007 of the Minister of Science and Technology on conditions for promulgating the List of measurement instruments that need inspecting;

At the request of the Director of the Directorate for Standards, Metrology, and Quality,

DECIDES:

Article 1. The verification of measurement instruments in the List of measurement instruments that need verifying promulgated together with the Decision No. 13/2007/QĐ-BKHCN dated July 06, 2007 of the Minister of Science and Technology shall comply with the verification procedure current Vietnam’s regulations on measurement of Vietnam.

The list of Vietnam’s regulations on verification procedure and verification cycle applicable to each measurement instruments is provided in the Appendix to this Decision.

Where a Vietnam’s regulation on measurement is superseded by a corresponding National Technical Regulation, the procedure and cycle of verification of the measurement instruments in this Article shall comply with such National Technical Regulation.

Article 2. This Decision takes effect after 15 days from the day on which it is published on the Official Gazette.

Article 3. The Directorate for Standards, Metrology, and Quality, Sub-department of the Standards, Metrology, and Quality of central-affiliated cities and provinces, relevant organizations and individuals are responsible for the implementation of this Decision.

|  | PP THE MINISTER DEPUTY MINISTER Tran Quoc Thang |
| --- | --- |

APPENDIX

LIST OF VIETNAM’S REGULATIONS ON PROCEDURE AND CYCLE OF INSPECTION OF MEASUREMENT INSTRUMENTS
(to the Circular No. 25/2007/QĐ-BKHCN of the Minister of Science and Technology)

| No. | Name of measurement instrument | Name of Vietnam’s regulations on procedure and cycle of verification | Number | Verification cycle |
| --- | --- | --- | --- | --- |
| (1) | (2) | (3) | (4) | (5) |
| 1 | Measuring tapes | Measuring tapes – Methods and means of verification | ĐLVN 36:1999 | Only initial verification |
| 2 | Taximeter | Taximeter – Methods and means of verification | ĐLVN 01:2003 | 1 year |
| 3 | Analytical and technical scales | Nonautomatic weighing instruments of special and high accuracy classes. Methods and means of verification | ĐLVN 16:1998 | 1 year |
| 4 | Platform scales | Platform scales. Methods and means of verification | ĐLVN 14:1998 | 1 year |
| 5 | Bench weight scales | Bench weight scales. Methods and means of verification | ĐLVN 15:1998 | 1 year |
| 6 | Spring dial Scales | Spring dial Scales. Methods and means of verification | ĐLVN 30:1998 | 1 year |
| 7 | Unequal level arm balance | Unequal level arm balances (Steel yards). Methods and means of verification | ĐLVN 02:1998 | 1 year |
| 8 | Truck weighbridges | Truck weighbridges. Methods and means of verification | ĐLVN 13:1998 | 1 year |
| 9 | Static railways scales | Static railways scales. Methods and means of verification | ĐLVN 32:1998 | 1 year |
| 10 | In-motion rail-weighbridges | In-motion rail-weighbridges. Methods and means of verification | ĐLVN 33:1998 | 2 year |
| 11 | Control scales for vehicle overload | Portable wheel load scales. Methods and means of verification | ĐLVN 26:1998 | 1 year |
|  |  | Control scales for vehicle overload. Methods and means of verification | ĐLVN 48:1999 | 1 year |
| 12 | Conveyor-belt scales | Conveyor-belt scales. Methods and means of verification | ĐLVN 03:1998 | 1 year |
| 13 | Weights | Weights of classes E2, F1 - Methods and means of verification | ĐLVN 50:1999 | 1 year |
|  |  | Weights of classes F2, M1 and M2 - Methods and means of verification | ĐLVN 47:1999 | 1 year |
| 14 | Common volume measuring instruments | Barrels. Methods and means of verification | ĐLVN 11:1998 | 2 year |
|  |  | Casks and barrels. Methods and means of verification - Glass materials - Metal and plastic materials | ĐLVN 12:1998 | Initial verification 2 year |
| 15 | Fixed cylindrical tanks | Vertical cylindrical tanks. Methods and means of calibration | ĐLVN 28:1998 | 5 year |
|  |  | Horizontal cylindrical tanks. Methods and means of calibration | ĐLVN 29:1998 | 5 year |
| 16 | Car tank | Car tank. Methods and means of verification | ĐLVN 05:1998 | 1 year |
| 17 | Fuel dispensing pumps | Fuel dispensing pumps. Methods and means of verification | ĐLVN 10:2003 Decision No. 403/QĐ-TĐC (April 13, 2007) | 1 year |
| 18 | Liquefied petroleum gas dispensers (LPG) | Liquefied petroleum gas dispensers (LPG) - Methods and means of verification | ĐLVN 156:2005 | 1 year |
| 19 | Meters for cold potable water | Meters for cold potable water. Methods and means of verification | ĐLVN 17:1998 | 5 year |
| 20 | Flow meters for oils and gas (including crude oil) | Flow meters for oils and oil products. Methods and means of verification | ĐLVN 22:1998 | 1 year |
|  |  | Turbine flowmeters. Methods and means of verification | ĐLVN 95:2002 | 1 year |
|  |  | Flow meters for oils and oil products. Methods and means of verification | ĐLVN 175:2005 | 1 year |
| 21 | Diaphragm meters | Diaphragm meters. Methods and means of verification - Qmax<16m3/h - Qmax ≥16m3/h | ĐLVN 155:2005 | 5 year 3 year |
| 22 | LPG meter | Comply with National Technical Regulations on verification of LPG meters |  |  |
| 23 | Pressure gauge | Pressure gauge with elastic sensing elements - Methods and means of verification | ĐLVN 08:1998 | 1 year |
| 24 | Sphygmomanometers | Sphygmomanometers. Methods and means of verification | ĐLVN 09:1998 | 1 year |
|  |  | Blood pressure dead weight testers. Methods and means of verification | ĐLVN 53:1999 | 2 year |
| 25 | Thermometer | Liquid-in-glass thermometers. Methods and means of verification | ĐLVN 20:1998 | 2 year |
|  |  | Alcohol in glass thermometers with minimum device. Methods and means of verification | ĐLVN 158:2005 | 2 year |
|  |  | Alcohol in glass thermometers with maximum device. Methods and means of verification | ĐLVN 159:2005 | 2 year |
| 26 | Clinical thermometers | Clinical thermometers (mercury-in-glass with maximum device). Methods and means of verification | ĐLVN 21:1998 | Initial verification |
|  |  | Clinical digital thermometers with maximum device. Methods and means of verification | ĐLVN 23:1998 | 6 months |
| 27 | Moisture meters for grain | Moisture meters for paddy rice, rice, maize and coffee. Methods and means of verification | ĐLVN 27:1998 | 1 year |
| 28 | Hydrometer | Hydrometer. Methods and means of verification | ĐLVN 70:2001 | 2 year |
| 29 | Breath alcohol testers | Breath alcohol testers. Methods and means of verification | ĐLVN 107:2002 | 1 year |
| 30 | Motor vehicle exhaust tester | Comply with National Technical Regulations on verification of motor vehicle exhaust testers |  |  |
| 31 | Electricity meter | Alternating current induction watt-hour meters. Verification procedures - 1-phase meter - 3-phase meter | ĐLVN 07:2003 | 5 year 2 year |
|  |  | Alternating current static watt-hour meters - Methods and means of verification - 1-phase meter - 3-phase meter | ĐLVN 39:2004 | 5 year 2 year |
| 32 | Current transformers for measurement | Current transformers for measurement and protection. Methods and means of verification | ĐLVN 18:1998 | 5 year |
| 33 | Voltage transformers for measurement | Voltage transformers for measurement and protection. Methods and means of verification | ĐLVN 24:1998 | 5 year |
| 34 | Megohmeter | Insulation resistance meters. Methods and means of verification | ĐLVN 142:2004 | 1 year |
| 35 | Earth resistance tester | Earth resistance meters. Methods and means of verification | ĐLVN 143:2004 | 1 year |
| 36 | Electrocardiograph | Electrocardiographs. Methods and means of verification | ĐLVN 43:1999 | 2 year |
| 37 | Electroencephalograph | Electrocardiographs. Methods and means of verification | ĐLVN 44:1999 | 2 year |
| 38 | Sound level meter | Sound level. Methods and means of verification | ĐLVN 89:2001 | 1 year |
| 39 | Velocity meters | Velocity meters. Methods and means of verification | ĐLVN 69:2001 | 1 year |

------------------------------------------------------------------------------------------------------
This translation is translated by LawSoft, for reference only. LawSoft is protected by copyright under clause 2, article 14 of the Law on Intellectual Property. LawSoft always welcome your comments