| MINISTRY OF CONSTRUCTION ------- | SOCIALIST REPUBLIC OF VIETNAM Independent - Freedom - Happiness -------------- |
| --- | --- |
| No. 15/2014/TT-BXD | Hanoi, September 15, 2014 |

CIRCULAR

ON PROMULGATION OF THE NATIONAL TECHNICAL REGULATION ON PRODUCTS AND GOODS OF BUILDING MATERIALS

Pursuant to the Government’s Decree No. 62/2013/ND-CP dated June 25, 2013 on functions, missions, authority and organizational structure of the Ministry of Construction;

Pursuant to the Government’s Decree No. 127/2007/ND-CP dated August 01, 2007 on details for enforcement of certain articles of the Law on Technical regulations and standards; At the request of the Head of the Department of Science Technology and Environment,

Minister of Construction issues the Circular on promulgation of the National technical regulation QCVN 16:2014/BXD on “Products and goods of building materials”.

Article 1. This Circular is enclosed with the National technical regulation QCVN 16:2014/BXD on “Products and goods of building materials”.

Article 2. This Circular comes into force as of 15 October 2014 and replaces the Circular No. 11/2011/TT-BXD dated August 30, 2011 by Ministry of Construction on promulgation of the National technical regulation on products and goods of building materials.

Article 3. Minister, heads of ministerial-level and governmental agencies, chairpersons of provincial people’s committees, organizations and individuals concerned are responsible for enforcing this Circular./.

|  | FOR MINISTER DEPUTY MINISTER Nguyen Tran Nam |
| --- | --- |

QCVN 16:2014/BXD

NATIONAL TECHNICAL REGULATION ON PRODUCTS AND GOODS OF BUILDING MATERIALS

TABLE OF CONTENTS

Foreword

Part 1. GENERAL

1.1. Scope of regulation

1.2. Regulated entities

1.3. Terminology

1.4. General regulation

1.5. Normative reference

PART 2. TECHNICAL REGULATION

2.1. Cement clinker and cement products

2.2. Glass products for construction sector

2.3. Admixtures for cement, concrete and mortar

2.4. Building materials containing inorganic fibers, synthetic organic fibers; aluminum products and aluminum alloy profiles; unplasticized polyvinyl chloride pipes (PVC-U) and wood-based products

2.5. Paint, waterproofing and sealant materials

2.6. Tiles and stone slabs

2.7. Ceramic sanitary ware products

2.8. Aggregates for concrete and mortar

2.9. Windows and doors

2.10. Masonry materials

PART 3. ADMINISTRATIVE REGULATION

3.1. Certification and announcement of conformity

3.2. Packaging, labeling, transport and storage

3.3. Enforcement

Preface

QCVN 16:2014/BXD replaces QCVN 16:2011/BXD.

QCVN 16:2014/BXD is compiled by Vietnam Institute for Building Material, reported by Department of Science and Technology, approved by Ministry of Science and Technology and enclosed to the Circular No. 15/2014/TT-BXD dated September 15, 2014 by Minister of Construction.

NATIONAL TECHNICAL REGULATION
ON PRODUCTS AND GOODS OF BUILDING MATERIALS

Part 1.

GENERAL

1.1. Scope of regulation

This Regulation defines technical requirements for products and goods of building materials as stated in Part 2 (hereinafter referred to as products and goods of building materials). Such products and goods are manufactured domestically, imported and sold in the Vietnamese market.

This Regulation does not govern products and goods of building materials imported as product sample, prototype, exhibition goods, temporary imports for re-export and goods in transit.

1.2. Regulated entities

1.2.1. Organizations and individuals that manufacture or import products and goods of building materials.

1.2.2. Authorities that conduct state management of the quality of relevant products and goods.

1.2.3. Organizations that are designated to assess the conformity of products and goods of building materials.

1.3. Terminology

In this Regulation, the following words and phrases are construed as follows:

1.3.1. Cement is a hydraulic binder in the form of a fine powder that, when mixed with water, forms a viscous paste hardening into stone in air and water through physicochemical reactions.

1.3.2. Cement clinkers are hydraulic binders that contain phases (minerals) and are made by sintering or by melting of a blend of certain ingredients (aggregates).

1.3.3. Glass products for construction sector are used and installed in buildings.

1.3.4. Cement admixtures are natural or artificial materials, in the form of a fine powder or liquid, blended into cement during its production for technological enhancement and for attainment of quality norms required without marring characteristics of cement.

1.3.5. Admixtures for concrete and mortar are added during the production of concrete and mortar to attain quality norms required without causing detrimental effects on properties of cured concrete blend, concrete or mortar and of reinforcing steel inside concrete. Admixtures for concrete and mortar are minerals or chemicals.

1.3.6. Mineral admixtures are natural or manmade inorganic materials fine-crushed and added during the process of blending to improve particle size distribution and composition of cement stone, concrete and mortar.

1.3.7. Chemical admixtures are added in a certain amount (not more than 5% by cement weight) before or during the process of blending in order to alter certain properties of cured cement blend, cement and mortar.

1.3.8. Building materials containing inorganic or synthetic organic fibers; and wood-based products refer to sheet products composed of inorganic fiber and/or synthetic organic fiber; artificial wood boards such as MDF or particleboard; manmade 3-layer floorboard with surface layer, middle layer and bottom layer chiseled in proper sizes; aluminum products and aluminum alloy profiles and unplasticized polyvinyl chloride pipes (PVC-U). Such products are used and installed in buildings.

1.3.9. Emulsion paint for walls is dispersion paint or water-soluble paint. Epoxy paint protects steel and metal structure, etc. Alkyd paint refers to alkyd-based paints modified by naturally drying herbal oil. Waterproofing materials are bituminous waterproofing membranes or polymer-cement-based coating liquid or waterstops made from PVC or rubber, structural silicone sealant.

1.3.10. Volatile organic compounds are organic chemicals in solid and/or liquid form, which can evaporate naturally under atmospheric pressure at ordinary temperature. They may pose risks of harmful effects on human and environment.

Volatile organic compounds include methylene chloride (dichloromethane);

1,1,1-trichloroethane (methyl chloroform); parachlorobenzotrifluoride (PCBTF); cyclic, branched, or linear completely methylated siloxanes; acetone; perchloroethylene (tetrachloroethylene); methyl acetate; t-butyl acetate with boiling point not exceeding 250oC at the pressure of 101.3 kPa.

1.3.11 Tiles and stone slabs are natural or manmade sheets of brick or stone whose edges or surface is finished or unfinished. These products serve purposes of cladding or paving for buildings.

1.3.12. Ceramic sanitary ware products refer to ceramic products used for sanitary purposes.

1.3.13. Aggregates are loose materials of natural or artificial origin with certain granular component. When mixed with cement and water, they form concrete or mortar. Grain size determines small and coarse aggregates.

1.3.14. Small aggregate is composed of aggregate particles whose size ranges from 0.14 mm to 5 mm. Small aggregate may be natural sand, crushed sand and their blend.

Natural sand is composed of small weathered particles of natural rocks. Natural sand refers to as sand.

Crushed sand is composed of particles whose size is less than 5 mm. It is formed by smashing and/or crushing of natural solid rocks.

1.3.15. Coarse aggregate is composed particles whose size ranges from 5 mm to 70 mm. Coarse aggregate may be crushed stone, gravel, crushed gravel (smashed or grinded grave) or blend of crushed stone and gravel or crushed gravel.

1.3.16. Door is an opening in a wall or partition, which allows passage.

1.3.17. Window covers an opening hole and opens or closes to ventilate or moderate light, wind or rain passing through it.

1.3.18. Clay burnt brick is made from clay minerals (possibly with admixtures) by pressing and burning at a suitable temperature.

1.3.19. Hollow clay brick is made from clay minerals (possibly with admixtures) by extrusion and burning at a suitable temperature.

1.3.20. Concrete brick is made from solid concrete blend composed of cement, aggregate and water with or without mineral and chemical admixtures.

1.3.21. Lightweight concrete - foam concrete or non-autoclaved air-cured aerated concrete made from Portland cement, water, foaming agent or air with or without fine aggregate, active mineral and chemical admixtures.

1.3.22. Lightweight concrete - autoclaved aerated concrete (AAC) brick, made from quartz sand, lime, fine-crushed gypsum, cement and water through aeration.

1.3.23. Batch combines one type of products or goods of building materials having similar specifications and produced at once through one technology line.

1.3.24. Lot combines one type of products or goods of building materials, in a defined quantity, which have similar label content, are produced or imported by one entity at one location and are distributed and sold in the market.

1.3.25. Potentially unsafe products and goods of building materials pose latent risks of adverse effects on human, animal, plant, property and environment despite their being transported, stored and used sensibly and properly.

1.4. General regulation

1.4.1. Products and goods of building materials must remain safe while being transported, stored and used.

1.4.2. Producers and importers must declare types of products and goods of building materials precisely as per the product list in Part 2. They must work with conformity assessment bodies, if uncertainty arises, to identify product type. Product names as shown in tables in Part 2 are defined in national technical regulations.

1.4.3. Products and goods of building materials as stated in Part 2, when being sold in the market, must be certified and announced in writing with regard to their conformity. Conformity mark is affixed directly on a product or its packing or its label or its certificate of quality or technical document.

1.5. Normative reference

These reference documents are necessary for enforcement of this regulation. Revisions to these standards, when adopted, shall prevail.

1.5.1. Cement clinker and cement products

TCVN 141:2008, Portland cement - Methods of chemical analysis

TCVN 2682:2009, Portland cements - Specifications

TCVN 4316:2007, Portland blast furnace slag cement

TCVN 5691:2000, White Portland cement

TCVN 6016:2011, Cement - Test methods - Determination of strength

TCVN 6017:1995, Cements - Test methods - Determination of setting time and soundness

TCVN 6067:2004, Sulphate resisting Portland cement - Technical requirements

TCVN 6068:2004, Sulphate resisting Portland cement - Method of test for potential expansion of mortars exposed to sulphate

TCVN 6069:2007, Low heat Portland cement

TCVN 6070:2005, Hydraulic cement – Test method for heat of hydration

TCVN 6260:2009, Portland blended cement - Specifications

TCVN 6533: 1999, Alumosilicate refractories - Methods of chemical analysis

TCVN 6820:2001, Barium contained Portland cement - Method of chemical analysis

TCVN 7024:2013, Portland cement clinker

TCVN 7445-1:2004, Oil well cement class G

TCVN 7569:2007, Alumina cement

TCVN 7711:2013, Sulfate resistant blended Portland cements

TCVN 7712:2013, Low heat blended Portland cements

TCVN 7713:2007, Cement – Determination of length change of hydraulic cement mortars exposed to a sulfate solution

TCVN 8877:2011, Cement – Test method for autoclave expansion

TCVN 9202:2012, Masonry cement

1.5.2. Glass products for construction sector

TCVN 7218:2002, Sheet glass for construction - Clear float glass - Specifications

TCVN 7219:2002, Sheet glass for construction - Method of test

TCVN 7364:2004, Glass in building- Laminated glass and laminated safety glass

TCVN 7368:2013, Glass in building – Laminated safety glass – Test methods for impact resistance

TCVN 7455:2013, Glass in building – Heat treated glass

TCVN 7456:2004, Glass in building - Wired glass

TCVN 7527:2005, Glass in building - Rolled patterned glass

TCVN 7528:2005, Glass in building – Solar reflective coated glass

TCVN 7736:2007, Glass in building - Drawn sheet glass

TCVN 8261:2009, Glass in building – Test method for non-destructive photoelastic measurement of surface and edge stresses in flat glass.

TCVN 9808:2013, Glass in building - Low emissivity coating glass

1.5.3. Admixtures for cement, concrete and mortar

TCVN 141:2008, Portland cement - Methods of chemical analysis

TCVN 3111:1993, Heavyweight concrete compound - Method for determination of air content

TCVN 3118:1993, Heavyweight concrete compound - Method for determination of compressive strength

TCVN 4315:2007, Granulated blast furnace slag for cement production

TCVN 6016:2011, Cement - Test methods - Determination of strength

TCVN 6017:2011, Cements - Test methods - Determination of setting time and soundness

TCVN 6882:2001, Mineral admixture for cement

TCVN 7131:2002, Clays - Methods of chemical analysis

TCVN 8262:2009, Fly ash - Methods of chemical analysis

TCVN 8825:2011, Mineral admixtures for roller-compacted concrete

TCVN 8826:2011, Chemical admixtures for concrete

TCVN 8827:2011, High-activity mineral admixtures for concrete and mortar: silicafume (SF) and rice husk ash (RHA)

TCVN 8877:2011, Cement – Method for determination of autoclave expansion

TCVN 8878:2011, Specification for processing additions for use in the manufacture of hydraulic cements

TCVN 10302:2014, Activity admixture - Fly ash for concrete, mortar and cement

1.5.4. Building materials containing inorganic fibers, synthetic organic fibers; aluminum alloy products; PVC-U pipes and wood-based products

TCVN 197:2002, Metallic materials – Tensile testing at ambient temperature

TCVN 258-1:2007, Metallic materials - Vickers hardness test - Part 1: Test method

TCVN 4434:2000, Asbestos-cement corrugated sheets – Technical requirements

TCVN 4435:2000, Asbestos-cement corrugated sheets - Method of test

TCVN 5878:1995, Non – magnetic coatings on magnetic substrates – Measurement of coating thickness – Magnetic method

TCVN 6140:1996, Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply - Extractability of cadmium and mercury

TCVN 6146:1996, Unplasticized polyvinyl chloride (PVC-U) pipes for drinking water supply - Extractability of lead and tin

TCVN 6149-1:2007, Thermoplastics pipes, fittings and assemblies for the conveyance of fluids - Determination of the resistance to internal pressure – Part 1: General method

TCVN 6149-2:2007, Thermoplastics pipes, fittings and assemblies for the conveyance of fluids - Determination of the resistance to internal pressure – Part 2: Preparation of pipe test pieces

TCVN 6149-3:2007, Thermoplastics pipes, fittings and assemblies for the conveyance of fluids - Determination of the resistance to internal pressure – Part 3: Preparation of components

TCVN 6151-2:2002, Tubes, pipes and fitting accessories of unplasticized polyvinyl chloride (PVC-U) used for water supply - Technical requirements - Part 2: Tubes and pipes (with or without fittings)

TCVN 7753:2007, Fiberboards – Dry process boards MDF

TCVN 7754:2007, Particleboards

TCVN 7756-3:2007, Wood based panels – Test methods – Part 3: Determination of moisture content

TCVN 7756-5:2007, Wood based panels – Test methods – Part 5: Determination of swelling in thickness after immersion in water

TCVN 7756-6:2007, Wood based panels – Test methods – Part 6: Determination of modulus of elasticity in bending and bending strength

TCVN 7756-7:2007, Wood based panel - Test methods - Part 7: Determination of tensile strength perpendicular to the plane of the board

TCVN 7756-12:2007, Wood based panels – Test methods – Part 12: Determination of formaldehyde

TCVN 8256:2009, Gypsum boards - Specifications

TCVN 8257-5:2009, Gypsum boards - Test methods - Part 5: Determination of humidified deflection

TCVN 8257-6:2009, Gypsum boards - Test methods - Part 6: Determination of water absorption

TCVN 8259-2:2009, Fiber-cement flat sheets - Test methods - Part 2: Determination of bending strength

TCVN 8259-6:2009, Fiber-cement flats sheets – Test methods – Part 6: Determination of water permeability

TCVN 8491-2:2011, Plastics piping systems for water supply and for buried and above-ground drainage and sewerage under pressure - Unplasticized polyvinyl chloride (PVC-U) - Part 2: Pipes

TCVN 9188: 2012, Chrysotile asbestos for asbestos - cement corrugated sheets

BS EN 13329:2006+A1:2008, Laminate floor coverings. Elements with a surface layer based on aminoplastic thermosetting resins. Specifications, requirements and test methods

1.5.5. Paint, waterproofing and sealant materials

TCVN 2090:2007, Paints, varnishes and raw materials for paints and varnishes − Sampling

TCVN 2093:1993, Paints - Method for the determination of solid content and binders content

TCVN 2096:1993, Method for determination of dry state and dry time

TCVN 2097:1993, Paints - Cross cut test for determination of adhesion

TCVN 2099:2013, Paints and varnishes - Bend test (cylindrical mandrel)

TCVN 2100-2:2007, Paints and varnishes - Rapid-deformation (impact resistance) tests - Part 2: Falling-weight test, small-area indenter

TCVN 4787:2009, Cement – Methods of taking and preparing samples of cement.

TCVN 7239:2014, Portland cement-based skim coat

TCVN 8267-3:2009, Structural silicone sealants - Test methods - Part 3: Determination of shore A hardness

TCVN 8267-4:2009, Structural silicone sealants - Test methods - Part 4: Determination for effect of heat aging on weight loss, cracking, and chalking

TCVN 8267-6:2009, Structural silicone sealants - Test methods - Part 6: Determination of tensile adhesion properties

TCVN 8653-4:2012, Wall emulsion paints - Test methods - Part 4: Determination of scrub resistance of paint film

TCVN 8653-5:2012, Wall emulsion paints - Test methods - Part 5: Determination of heat sock resistance of paint film

TCVN 9067-2:2012, Modified bituminous waterproofing membranes - Test methods - Part 2: Determination of dynamic puncture resistance

TCVN 9067-3:2012, Modified bituminous waterproofing membranes - Test methods - Part 3: Determination of temperature stability

ISO 6272-2:2011, Paints and varnishes. Rapid-deformation (impact resistance) tests. Falling-weight test, small-area indenter

ISO 17895:2005, Paints and varnishes. Determination of the volatile organic compound content of low-VOC emulsions paints (in-can VOC).

ISO 11890-1:2007, Paints and varnishes. Determination of the volatile organic compound content - Part 1: Difference method

ISO 11890-2:2007, Paints and varnishes. Determination of the volatile organic compound content - Part 2: Gas-chromatographic method

BS EN 14891:2007, Liquid-applied water impermeable products for use beneath ceramic tiling bonded with adhesives. Requirements, test methods, evaluation of conformity, classification and designation

JIS K 6773:2007, Polyvinylchloride waterstop (Amendment 1)

JIS K 7113:1995, Testing method for tensile properties of plastics

1.5.6. Tiles and stone slabs

TCVN 4732:2007, Natural stone facing slabs

TCVN 6355:2009, Bricks - Test methods

TCVN 6415:2005, Ceramic floor and wall tiles – Test methods

TCVN 7483:2005, Extruded ceramic floor and wall tiles - Specifications

TCVN 7744:2013, Terrazzo tiles

TCVN 7745:2007, Dry pressed ceramic tiles - Specifications

TCVN 8057: 2009, Artificial stone slabs based on organic binders

TCVN 8495-1:2010, Ceramic floor and wall tiles - External mosaic tiles

1.5.7. Ceramic sanitary ware products

TCVN 5436:2006, Sanitary ceramic wares - Test methods

TCVN 6073:2005, Sanitary ceramic wares - Specifications

1.5.8. Aggregates for concrete and mortar

TCVN 344:1986, Sand for construction works - Method for determination of sulphate and sulphite contents

TCVN 7570:2006, Aggregates for concrete and mortar - Specifications

TCVN 7572:2006, Aggregates for concrete and mortar - Test methods

TCVN 9205:2012, Crushed sand for concrete and mortar

1.5.9. Windows and doors

TCVN 7451:2004, Windows and doors made from unplasticized polyvinyl chloride (PVC-U) extruded hollow profiles

TCVN 7452:2004, Windows and doors - Test methods

TCVN 9366:2012, Windows and doors

QCVN 06:2010/BXD, National technical regulation on fire safety for house and building

1.5.10. Masonry materials

TCVN 1450:2009, Hollow clay bricks

TCVN 1451:1986, Clay burnt bricks

TCVN 6355:2009, Bricks - Test methods

TCVN 6477:2011, Concrete bricks

TCVN 7959:2011, Lightweight concrete - Autoclaved aerated concrete bricks (AAC)

TCVN 9029:2011, Lightweight concrete - Non-autoclaved aerated, foam concrete bricks - Specifications

TCVN 9030:2011, Lightweight concrete - Non-autoclaved aerated, foam concrete bricks - Test methods

Part 2.

TECHNICAL REGULATION

2.1. Cement clinker and cement products

2.1.1. Technical values of cement clinker and cement products must be examined in conformity to requirements in Table 2.1.

2.1.2. Test methods for examination of technical values of cement clinker and cement products are defined in Table 2.1.

Table 2.1 - Technical requirement for cement clinker and cement products

| No. | Product name | Entry | Required value | Test method | Sampling |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Portland cement clinker | 1. Strength activity | As per Table 2 of TCVN 7024:2013 | TCVN 7024:2013 | Take about 20 kg apiece from 10 different positions in the lot. Mix samples evenly and use the quad-split method to take a 80-kg sample |  |
|  |  | 2. Content of magnesium oxide (MgO), %, not more than | 5.0 | TCVN 141:2008 |  |  |
|  |  | 3. Content of ferric oxide (Fe2O3), %, not more than (a) | 0.5 |  |  |  |
|  |  | 4. Content of alkali equivalent (Na2O)equiv., %, not more than (b) | 0.6 | TCVN 141:2008 |  |  |
|  |  | 5. Loss on ignition, %, not more than | 1.5 |  |  |  |
|  |  | 6. Insoluble residue content, %, not more than | 0.75 |  |  |  |
|  |  | 7. Particle size less than 1 mm, %, not more than | 10 | TCVN 7024:2013 |  |  |
| 2 | Portland cement | 1. Compressive strength | As per Table 1 of TCVN 2682:2009 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Content of magnesium oxide (MgO), %, not more than | 5.0 | TCVN 141:2008 |  |  |
|  |  | 3. Volume stability by Le Chatelier principle, mm, not more than | 10.0 | TCVN 6017:1995 |  |  |
|  |  | 4. Loss on ignition, %, not more than | 3.0 | TCVN 141:2008 |  |  |
|  |  | 5. Insoluble residue content, %, not more than | 1.5 |  |  |  |
| 3 | Portland cement blend | 1. Compressive strength | As per Table 1 of TCVN 6260:2009 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Volume stability by Le Chatelier principle, mm, not more than | 10.0 | TCVN 6017:1995 |  |  |
|  |  | 3. Autoclave expansion, %, not more than | 0.8 | TCVN 8877:2011 |  |  |
| 4 | White Portland cement | 1. Compressive strength | As per Table 1 of TCVN 5691:2000 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Content of magnesium oxide (MgO), %, not more than | 5.0 | TCVN 141:2008 |  |  |
|  |  | 3. Whiteness degree on absolute scale, %, not more than | As per Table 1 of TCVN 5691:2000 | TCVN 5691:2000 |  |  |
|  |  | 4. Volume stability by Le Chatelier principle, mm, not more than | 10.0 | TCVN 6017:1995 |  |  |
| 5 | Alumina cement | 1. Compressive strength | As per Table 2 of TCVN 7569:2007 | TCVN 7569:2007 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Content of aluminum oxide (Al2O3) and ferric oxide (Fe2O3) | As per Table 1 of TCVN 7569:2007 | TCVN 6533:1999 |  |  |
|  |  | 3. Content of alkali equivalent (Na2O)equiv., %, not more than | 0.4 |  |  |  |
| 6 | Oil well cement, class G | 1. Compressive strength | As per Table 2 of TCVN 7445-1:2004 | TCVN 7445-2:2004 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Thickening time |  |  |  |  |
|  |  | 3. Content of magnesium oxide (MgO), %, not more than | 5.0 | TCVN 141:2008, content of C3S, C3A and C4AF determined as per Table 1, TCVN 7445-1:2004 |  |  |
|  |  | Content of tri-calcium silicate (C3S), % | 48 ÷ 65 |  |  |  |
|  |  | 4. Content of C3S, %, not more than | 3.0 |  |  |  |
|  |  | 5. Total content of tricalcium aluminate and tetra-calcium aluminoferrite (2C3A + C4AF), %, not more than | 24 |  |  |  |
| 7 | Low heat Portland cement | 1. Compressive strength | As per Table 1 of TCVN 6069:2007 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Heat of hydration |  | TCVN 6070:2005 |  |  |
|  |  | 3. Content of magnesium oxide (MgO), %, not more than | 5.0 | TCVN 141:2008 |  |  |
|  |  | 4. Volume stability by Le Chatelier principle, mm, not more than | 10.0 | TCVN 6017:1995 |  |  |
| 8 | Low heat Portland cement blend | 1. Compressive strength | As per Table 1 of TCVN 7712:2013 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Heat of hydration |  | TCVN 6070:2005 |  |  |
|  |  | 3. Autoclave expansion, %, not more than | 0.8 | TCVN 8877:2011 |  |  |
| 9 | Sulfate-resisting Portland cement | 1. Compressive strength | As per Table 2 of TCVN 7024:2013 2004 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Content of magnesium oxide (MgO), %, not more than | 5.0 | TCVN 141:2008 or TCVN 6820:2011 for existence of barium, content of C3A and C4AF determined as per Table 1, TCVN 6067:2004 |  |  |
|  |  | 3. Content of C3A(c), %, not more than | 3.5 |  |  |  |
|  |  | 4. Total content (C4AF + 2C3A)(c), %, not more than | 25.0 |  |  |  |
|  |  | 5. Volume stability by Le Chatelier principle, mm, not more than | 10.0 | TCVN 6017:1995 |  |  |
|  |  | 6. Sulfate expansion at 14 days(c), %, not more than | 0.04 | TCVN 6068:2004 |  |  |
| 10 | Sulfate-resisting Portland cement blend | 1. Compressive strength | As per Table 1 of TCVN 7711:2013 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Mortar bar expansion in sulfate solution after 6 months, %, not more than: - Medium sulfate resistance - High sulfate resistance | 0.1 0.05 | TCVN 7713:2007 |  |  |
|  |  | 3. Mortar bar expansion in water at 14 days, %, not more than | 0.02 | TCVN 6068:2004 |  |  |
|  |  | 4. Autoclave expansion, %, not more than | 0.8 | TCVN 8877:2011 |  |  |
| 11 | Portland blast-furnace slag cement | 1. Compressive strength | As per Table 1 of TCVN 4316:2007 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Content of magnesium oxide (MgO), %, not more than | 6.0 | TCVN 141:2008 |  |  |
|  |  | 3. Volume stability by Le Chatelier principle, mm, not more than | 10.0 | TCVN 6017:1995 |  |  |
| 12 | Masonry cement | 1. Compressive strength | As per Table 2 of TCVN 9202:2012 | TCVN 6016:2011 | Take individual samples from 10 different positions in the lot Mix individual samples and take a mixed sample weighed at least 10 kg |  |
|  |  | 2. Content of chloride ion (Cl-), %, not more than | 0.1 | TCVN 141:2008 |  |  |
|  |  | 3. Volume stability by Le Chatelier principle, mm, not more than | 10.0 | TCVN 6017:1995 |  |  |
| (a)This value only applies to white Portland cement clinker. (b) This value only applies to low-alkali cement clinker. (c) When value of sulfate expansion at 14 days is satisfactory, tests for content of C3A and total content (C4AF+2C3A) are not required. (d) Cement quality is controlled according to Annex A of TCVN 7711:2013. | (a)This value only applies to white Portland cement clinker. (b) This value only applies to low-alkali cement clinker. (c) When value of sulfate expansion at 14 days is satisfactory, tests for content of C3A and total content (C4AF+2C3A) are not required. (d) Cement quality is controlled according to Annex A of TCVN 7711:2013. | (a)This value only applies to white Portland cement clinker. (b) This value only applies to low-alkali cement clinker. (c) When value of sulfate expansion at 14 days is satisfactory, tests for content of C3A and total content (C4AF+2C3A) are not required. (d) Cement quality is controlled according to Annex A of TCVN 7711:2013. | (a)This value only applies to white Portland cement clinker. (b) This value only applies to low-alkali cement clinker. (c) When value of sulfate expansion at 14 days is satisfactory, tests for content of C3A and total content (C4AF+2C3A) are not required. (d) Cement quality is controlled according to Annex A of TCVN 7711:2013. | (a)This value only applies to white Portland cement clinker. (b) This value only applies to low-alkali cement clinker. (c) When value of sulfate expansion at 14 days is satisfactory, tests for content of C3A and total content (C4AF+2C3A) are not required. (d) Cement quality is controlled according to Annex A of TCVN 7711:2013. | (a)This value only applies to white Portland cement clinker. (b) This value only applies to low-alkali cement clinker. (c) When value of sulfate expansion at 14 days is satisfactory, tests for content of C3A and total content (C4AF+2C3A) are not required. (d) Cement quality is controlled according to Annex A of TCVN 7711:2013. |  |

2.2. Glass products for construction sector

2.2.1. Producers must announce these features of glass in writing:

- Visible Light Transmission (VLT), except for mirror glass;

- Solar Heat Gain Coefficient (SHGC);

- Emissivity coefficient, only applicable to low-e glass.

2.2.2. Technical values of glass products for construction sector must be examined in conformity to requirements in Table 2.2.

2.2.3. Test methods for examination of technical values of glass products for construction sector are defined in Table 2.2.

Table 2.2 - Technical requirement for glass products for construction sector

| No. | Product name | Entry | Required value | Test method | Sampling |
| --- | --- | --- | --- | --- | --- |
| 1 | Drawn sheet glass | 1. Thickness variation | As per Table 1 of TCVN 7736:2007 | TCVN 7219:2002 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Visible defects | As per Table 3 of TCVN 7736:2007 | TCVN 7219:2002 |  |
|  |  | 3. Visible light transmission | As per Table 4 of TCVN 7736:2007 | TCVN 7219:2002 |  |
| 2 | Clear float glass | 1. Thickness variation | As per Table 1 of TCVN 7218:2002 | TCVN 7219:2002 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Visible defects | As per Table 2 of TCVN 7218:2002 | TCVN 7219:2002 |  |
|  |  | 3. Visible light transmission | As per Table 3 of TCVN 7218:2002 | TCVN 7219:2002 |  |
| 3 | Rolled patterned glass | 1. Thickness variation | As per Table 1 of TCVN 7527:2005 | TCVN 7527:2005 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Bow, %, not more than | 0.3 | TCVN 7219:2002 |  |
|  |  | 3. Visible defects | As per Table 3 of TCVN 7527:2005 | TCVN 7527:2005 |  |
| 4 | Heat-absorbing colored glass | 1. Thickness variation | Standards for production of material glass | TCVN 7219:2002 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Visible defects | Standards for production of material glass | TCVN 7219:2002 |  |
| 5 | Reflective coated glass | 1. Thickness variation and bow of the glass | Standards for production of material glass | TCVN 7219:2002 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Visible defects | As per Table 1 of TCVN 7528:2005 | TCVN 7219:2002 |  |
|  |  | 3. Solar energy reflectance | As per Table 2 of TCVN 7528:2005 | TCVN 7528:2005 |  |
|  |  | 4. Abrasion resistance | As per Table 3 of TCVN 7528:2005 | TCVN 7528:2005 | 3 samples, size ≥ (100x100) mm |
| 6 | Heat-treated flat glass | 1. Thickness variation | As per Table 3 of TCVN 7455:2013 | TCVN 7219:2002 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Visible defects | Not allowable | TCVN 7219:2002 |  |
|  |  | 3. Surface stress, MPa, not lower than |  | TCVN 8261:2009 |  |
|  |  | - Thermally toughened safety glass | 69 |  |  |
|  |  | - Heat strengthened glass | 24 |  |  |
|  |  | 4. Breaking test for thermally toughened safety glass | As per Table 7 of TCVN 7455:2013 | TCVN 7455:2013 |  |
|  |  | 5. Impact resistance of thermally toughened safety glass | As per Table 7 of TCVN 7455:2013 | TCVN 7368:2013 TCVN 7455:2013 |  |
|  |  | - Ball drop impact resistance |  |  | 6 samples, size ≥ (610x610) mm |
|  |  | - Pendulum impact resistance |  |  | 4 samples, size at (1900x860) mm |
| 7 | Laminated glass and laminated safety glass (a) | 1. Thickness variation | TCVN 7364-5:2004 | TCVN 7219:2002 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Visible defects | TCVN 7364-6:2004 | TCVN 7364-6:2004 |  |
|  |  | 3. Durability at high temperature | TCVN 7364-2:2004 | TCVN 7364-4:2004 | 6 samples, size at (300x100) mm |
|  |  | 4. Ball drop impact resistance | TCVN 7364-2:2004 | TCVN 7368:2013 | 6 samples, size at (610x610) mm |
|  |  | 5. Pendulum impact resistance | TCVN 7364-2:2004 | TCVN 7368:2013 | 4 samples, size at (1900x860) mm |
| 8 | Wired glass (a) | 1. Thickness variation | As per Table 1 of TCVN 7456:2004 | TCVN 7219:2002 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Bow | As per Table 2 of TCVN 7456:2004 | TCVN 7219:2002 |  |
|  |  | 3. Visible defects | As per Table 3 of TCVN 7456:2004 | TCVN 7219:2002 |  |
| 9 | Low-emissivity coated glass | 1. Thickness variation | TCVN 9808:2013 | TCVN 7219:2002 | 3 samples, size ≥ (600x600) mm |
|  |  | 2. Visible defects | As per Table 2 and 3 of TCVN 9808:2013 | TCVN 9808:2013 |  |
| (a) Producers must enclose samples of heat treated flat glass, laminated glass, laminated safety glass and wired glass (numbered 6, 7 and 8 in Tablet 2.2) with the lot. Quantity and size of samples must meet the requirement in Tablet 2.2. | (a) Producers must enclose samples of heat treated flat glass, laminated glass, laminated safety glass and wired glass (numbered 6, 7 and 8 in Tablet 2.2) with the lot. Quantity and size of samples must meet the requirement in Tablet 2.2. | (a) Producers must enclose samples of heat treated flat glass, laminated glass, laminated safety glass and wired glass (numbered 6, 7 and 8 in Tablet 2.2) with the lot. Quantity and size of samples must meet the requirement in Tablet 2.2. | (a) Producers must enclose samples of heat treated flat glass, laminated glass, laminated safety glass and wired glass (numbered 6, 7 and 8 in Tablet 2.2) with the lot. Quantity and size of samples must meet the requirement in Tablet 2.2. | (a) Producers must enclose samples of heat treated flat glass, laminated glass, laminated safety glass and wired glass (numbered 6, 7 and 8 in Tablet 2.2) with the lot. Quantity and size of samples must meet the requirement in Tablet 2.2. | (a) Producers must enclose samples of heat treated flat glass, laminated glass, laminated safety glass and wired glass (numbered 6, 7 and 8 in Tablet 2.2) with the lot. Quantity and size of samples must meet the requirement in Tablet 2.2. |

2.3. Admixtures for cement, concrete and mortar

2.3.1. Technical values of admixtures for cement, concrete and mortar must be examined in conformity to requirements in Table 2.3.

2.3.2. Test methods for examination of technical values of admixtures for cement, concrete and mortar are defined in Table 2.3.

Table 2.3 - Technical requirement for admixtures for cement, concrete and mortar

| No. | Product name | Entry | Required value | Required value | Test method | Sampling |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Mineral admixture for cement | 1. Strength activity index after 28 days in comparison with the counter sample, %, not lower than |  |  | TCVN 6882:2001 | Take about 2-kg samples from 10 different positions. Process samples with large grain size to reduce size below 10 mm |  |
|  |  | - Active admixture | 75.0 | 75.0 |  |  |  |
|  |  | - Inert admixture | - | - |  |  |  |
|  |  | 2. Content of SO3, %, not more than | 4.0 | 4.0 | TCVN 141:2008 |  |  |
|  |  | 3. Content of clay and dust matter in inert admixture, %, not more than | 3.0 | 3.0 | TCVN 6882:2001 |  |  |
|  |  | 4. Content of deleterious alkali after 28 days, %, not more than | 1.5 | 1.5 | TCVN 6882:2001 |  |  |
| 2 | Granulated blast-furnace slag for cement production | 1. Alkali factor, not lower than | 1.6 | 1.6 | TCVN 4315:2007 | Take about 4-kg samples from 10 different positions. |  |
|  |  | 2. Strength activity index, %, not lower than |  |  | TCVN 4315:2007 |  |  |
|  |  | - 7 days | 55.0 | 55.0 |  |  |  |
|  |  | - 28 days | 75.0 | 75.0 |  |  |  |
|  |  | 3. Content of magnesium oxide (MgO), %, not more than | 10.0 | 10.0 | TCVN 141:2008 |  |  |
| 3 | Processing additions to cement | 1. Standard water content in cement with admixture in comparison with the counter sample, %, not exceeding | 2.0 | 2.0 | TCVN 6017:1995 | Liquid sample: Take at least three 0.5-liter individual samples and take at least 4-liter mixed sample Other forms: Take at least 1-kg individual samples from 4 positions, and take mixed sample weighed at least 2 to 3 kg |  |
|  |  | 2. Setting time of cement with admixture in comparison with the counter sample, %, not exceeding | 1 hour or 50% (which is lower) | 1 hour or 50% (which is lower) | TCVN 6017:1995 |  |  |
|  |  | 3. Compressive strength of cement with admixture at 3 and 28 days in comparison with the counter sample, %, not lower than | 95.0 | 95.0 | TCVN 6016:2011 |  |  |
|  |  | 4. Autoclave expansion of cement with admixture in comparison with the counter sample, %, not more than | 0.1 | 0.1 | TCVN 8877:2011 |  |  |
| 4 | High-activity mineral admixtures for concrete and mortar: silicafume (SF) and rice husk ash (RHA) |  | With SF | With RHA |  | Take at least three 2-kg samples from SF lot ≤ 20 tonnes or RHA lot ≤ 5 tonnes Take at least ten 2-kg samples from SF lot > 20 tonnes or RHA lot > 5 tonnes |  |
|  |  | 1. Content of silicon dioxide (SiO2), %, not lower than | 85.0 | 85.0 | TCVN 7131:2002 |  |  |
|  |  | 2. Loss on ignition, %, not more than | 6.0 | 3.0 (a) | TCVN 141:2008 |  |  |
|  |  | 3. Mass retained on 45-mm sieve, %, not more than | 10.0 | Not defined | TCVN 8827:2011 |  |  |
|  |  | 4. Strength activity index at 7 days in comparison with the counter sample, %, not lower than | 85.0 | 85.0 | TCVN 8827:2011 |  |  |
|  |  | 5. Specific surface, m2/g, not lower than | 12.0 | 30.0 | TCVN 8827:2011 |  |  |
| 5 | Mineral admixtures for roller-compacted concrete | 1. Strength activity index in comparison with the counter sample | As per Table 1 of TCVN 8825:2011 | As per Table 1 of TCVN 8825:2011 | TCVN 6882:2001 | Take at least 2 kg apiece from 10 different positions. Process samples with large grains to reduce size below 10 mm |  |
|  |  | 2. Content of sulfur trioxide (SO3) |  |  | TCVN 7131:2002 |  |  |
|  |  | 3. Total contents of oxides SiO2 + Al2O3 + Fe2O3 |  |  |  |  |  |
|  |  | 4. Loss on ignition |  |  |  |  |  |
|  |  | 5. Content of deleterious alkali, %, not more than | 1.5 | 1.5 | TCVN 6882:2001 |  |  |
|  |  | 6. Autoclave expansion, %, not more than | 0.8 | 0.8 | TCVN 8825:2011 |  |  |
| 6 | Chemical admixtures for concrete | 1. Highest mixing water content in comparison with the counter sample | As per Table 1 of TCVN 8826:2011 | As per Table 1 of TCVN 8826:2011 | TCVN 8826:2011 | Liquid form: Take at least three individual samples to form at least 4-liter mixed sample Other forms: Take at least 1 kg apiece from 4 positions Mixed sample weighed at least 2 kg |  |
|  |  | 2. Setting time in comparison with the counter sample |  |  |  |  |  |
|  |  | 3. Compressive strength after 1, 3, 7 and 28 days in comparison with the counter sample |  |  | TCVN 3118:1993 |  |  |
|  |  | 4. Content of chloride ion (Cl-), not more than (b) | 0.1% by weight or as per the producer's value | 0.1% by weight or as per the producer's value | TCVN 8826:2011 |  |  |
|  |  | 5. Air content, % by volume, not more than | 2.0 | 2.0 | TCVN 3111:1993 |  |  |
| 7 | Active fly ash admixtures for concrete, mortar and cement | Fly ash for concrete and mortar: | Fly ash for concrete and mortar: | Fly ash for concrete and mortar: | Fly ash for concrete and mortar: | Take at least 2 kg apiece from 5 different positions in the lot. Use quad-split method to take a mixed sample |  |
|  |  | 1. Total contents of oxides SiO2 + Al2O3 + Fe2O3 | As per Table 1 of TCVN 10302:2014 | As per Table 1 of TCVN 10302:2014 | TCVN 8262:2009 |  |  |
|  |  | 2. Content of free calcium oxide (CaOfree) |  |  | TCVN 141:2008 |  |  |
|  |  | 3. Content of sulfur and sulfur compounds as equivalent SO3 |  |  |  |  |  |
|  |  | 4. Loss on ignition |  |  | TCVN 8262:2009 |  |  |
|  |  | 5. Content of deleterious alkali |  |  | TCVN 6882:2001 |  |  |
|  |  | 6. Content of chloride ion (Cl-) |  |  | TCVN 8826:2011 |  |  |
|  |  | 7. Natural radioactivity, Aeff |  |  | Annex C of TCVN 10302:2014 |  |  |
|  |  | Fly ash for cement: | Fly ash for cement: | Fly ash for cement: | Fly ash for cement: |  |  |
|  |  | 1. Loss on ignition | As per Table 2 of TCVN 10302:2014 | As per Table 2 of TCVN 10302:2014 | TCVN 8262:2009 |  |  |
|  |  | 2. Content of SO3 |  |  | TCVN 141:2008 |  |  |
|  |  | 3. Content of free calcium oxide (CaOfree) |  |  |  |  |  |
|  |  | 4. Content of deleterious alkali (soluble alkali) |  |  | TCVN 8262:2009 |  |  |
|  |  | 5. Strength activity index after 28 days in comparison with the counter sample |  |  | TCVN 6882:2001 |  |  |
|  |  | 6. Natural radioactivity, Aeff |  |  | Annex C of TCVN 10302:2014 |  |  |
| (a) If percentage lost on ignition is over 3% to 10%, it is used as normal active mineral admixture. (b) Admixtures having satisfactory content of chloride ion as defined in this regulation shall not be automatically permissible for prestressed reinforced concrete. | (a) If percentage lost on ignition is over 3% to 10%, it is used as normal active mineral admixture. (b) Admixtures having satisfactory content of chloride ion as defined in this regulation shall not be automatically permissible for prestressed reinforced concrete. | (a) If percentage lost on ignition is over 3% to 10%, it is used as normal active mineral admixture. (b) Admixtures having satisfactory content of chloride ion as defined in this regulation shall not be automatically permissible for prestressed reinforced concrete. | (a) If percentage lost on ignition is over 3% to 10%, it is used as normal active mineral admixture. (b) Admixtures having satisfactory content of chloride ion as defined in this regulation shall not be automatically permissible for prestressed reinforced concrete. | (a) If percentage lost on ignition is over 3% to 10%, it is used as normal active mineral admixture. (b) Admixtures having satisfactory content of chloride ion as defined in this regulation shall not be automatically permissible for prestressed reinforced concrete. | (a) If percentage lost on ignition is over 3% to 10%, it is used as normal active mineral admixture. (b) Admixtures having satisfactory content of chloride ion as defined in this regulation shall not be automatically permissible for prestressed reinforced concrete. | (a) If percentage lost on ignition is over 3% to 10%, it is used as normal active mineral admixture. (b) Admixtures having satisfactory content of chloride ion as defined in this regulation shall not be automatically permissible for prestressed reinforced concrete. |  |

2.4. Building materials containing inorganic fibers, synthetic organic fibers; aluminum products and aluminum alloy profiles; unplasticized polyvinyl chloride pipes (PVC-U) and wood-based products

2.4.1. Production cannot use amiante amphibole (or amphibole). These five types of amiante amphibole are prohibited:

(1) Amosite (brown asbestos): Fibrous, brown, chemical formula: 5,5 FeO. 1,5 MgO. 8 SiO2. H2O; (2) Crocidolite (blue asbestos): Fibrous, blue, chemical formula: 3 H2O. 2Na2O. 6 (Fe2,Mg)O. 2 Fe2O3. 17 SiO2;

(3) Anthophilite: Fibrous, colored, chemical formula: 7 (Mg,Fe)O. 8 SiO2(OH)2;

(4) Actinolite: Fibrous, colored, chemical formula: 2 CaO. 4 MgO. FeO. 8 SiO2. H2O;

(5) Tremolite: Fibrous, colored, chemical formula: 2 CaO. 5 MgO. 8 SiO2. H2O.

2.4. Building materials containing inorganic fibers, synthetic organic fibers; aluminum products and aluminum alloy profiles; unplasticized polyvinyl chloride pipes (PVC-U) and wood-based products must be examined with regard to technical values in conformity to the requirement in Table 2.4.

2.4. Test methods for examination of technical values of building materials containing inorganic fibers, synthetic organic fibers; aluminum products and aluminum alloy profiles; unplasticized polyvinyl chloride pipes (PVC-U) and wood-based products are defined in Table 2.4.

Table 2.4 - Technical requirement for building materials containing inorganic fibers, synthetic organic fibers; aluminum products and aluminum alloy profiles; unplasticized polyvinyl chloride pipes (PVC-U) and wood-based products

| No. | Product name | Entry | Required value | Test method | Sampling |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Corrugated asbestos cement sheet | 1. Properties of asbestos fibers used in production | According to TCVN 9188:2012 | TCVN 9188:2012 | According to TCVN 9188:2012 Take at least 01 full sheet apiece from two positions |  |
|  |  | 2. Physico-mechanical properties of the product | TCVN 4434:2000 | TCVN 4435:2000 |  |  |
| 2 | Gypsum board | 1. Flexural strength | TCVN 8256:2009 | TCVN 8257-3:2009 | Take at least 0.2% of total quantity of gypsum sheets from random positions in the lot, and at least 02 boards as mixed sample |  |
|  |  | 2. Humidified deflection | TCVN 8256:2009 | TCVN 8257-5:2009 |  |  |
|  |  | 3. Water absorption (only applicable to humidity-resistant sheathing board; interior board) | TCVN 8256:2009 | TCVN 8257-6:2009 |  |  |
| 3 | Fiber-cement flat sheet | Class A (direct weather exposure) | Class A (direct weather exposure) | Class A (direct weather exposure) | Take at least one half of a full sheet apiece from two random positions |  |
|  |  | 1. Flexural strength, MPa, not less than |  | TCVN 8259-2:2009 |  |  |
|  |  | - Grade 2 | 4 |  |  |  |
|  |  | - Grade 3 | 7 |  |  |  |
|  |  | - Grade 4 | 13 |  |  |  |
|  |  | - Grade 5 | 18 |  |  |  |
|  |  | 2. Water resistance, Li | No water droplets on underside | TCVN 8259-6:2009 |  |  |
|  |  | Class B (indirect weather exposure) | Class B (indirect weather exposure) | Class B (indirect weather exposure) | Take at least one half of a full sheet apiece from two random positions |  |
|  |  | 1. Flexural strength, MPa, not less than |  |  |  |  |
|  |  | - Grade 1 | 4 | TCVN 8259-2:2009 |  |  |
|  |  | - Grade 2 | 7 |  |  |  |
|  |  | - Grade 3 | 10 |  |  |  |
|  |  | - Grade 4 | 16 |  |  |  |
|  |  | - Grade 5 | 22 |  |  |  |
|  |  | 2. Water resistance, Li | No water droplets on underside | TCVN 8259-6:2009 |  |  |
| 4 | Aluminum and aluminum alloy profile | 1. Tensile strength, MPa, not less than | 165 | TCVN 197:2002 | Take one rod at least 0.5 m in length apiece from at least three random positions. The length of a mixed sample must be at least 1.5 m. The width of the sample is equivalent to that of a full rod. |  |
|  |  | 2. Vickers hardness, HV, not less than | 58 | TCVN 258-1:2007 |  |  |
|  |  | 3. Oxide membrane, µm |  | TCVN 5878:1995 |  |  |
|  |  | Anodic film | 8 ÷ 25 |  |  |  |
|  |  | Anodic film through electrophoretic deposition (ED) | 15 ÷ 35 |  |  |  |
| 5 | Plastic piping systems for water supply and for buried and above-ground drainage and sewerage under pressure - Unplasticized polyvinyl chloride (PVC-U) | 1. Extractability, mg/liter, not more than |  |  | Take two segments at least 1 m in length apiece from at least 4 random positions. The length of a mixed sample must be at least 8 m. |  |
|  |  | - Lead | 0.01 | TCVN 6146:1996 TCVN 6140:1996 |  |  |
|  |  | - Cadmium | 0.01 |  |  |  |
|  |  | - Mercury | 0.001 |  |  |  |
|  |  | 2. Hydrostatic pressure resistance | TCVN 8491-2:2011 | TCVN 6149-1÷3:2007 |  |  |
| 6 | Medium-density fiberboard (MDF) | 1. Linear expansion after 24 hours water soaking | TCVN 7753:2007 | TCVN 7756-5:2007 | Take at least 0.5 m2 apiece from two random positions to form a mixed sample whose size reaches at least 1 m2. |  |
|  |  | 2. Static bending strength | TCVN 7753:2007 | TCVN 7756-6:2007 |  |  |
|  |  | 3. Tensile strength perpendicular to the surface of the board | TCVN 7753:2007 | TCVN 7756-7:2007 |  |  |
|  |  | 4. Levels of formaldehyde through extraction, not more than |  | TCVN 7756-12:2007 |  |  |
|  |  | - Class E1 | 9 mg/100 g |  |  |  |
|  |  | - Class E2 | 30 mg/100 g |  |  |  |
| 7 | Particleboard | 1. Thickness swelling after 24 hours water soaking | TCVN 7754:2007 | TCVN 7756-5:2007 | Take at least 0.5 m2 apiece from two random positions to form a mixed sample whose size reaches at least 1 m2. |  |
|  |  | 2. Static bending strength | TCVN 7754:2007 | TCVN 7756-6:2007 |  |  |
|  |  | 3. Tensile strength perpendicular to the surface of the board | TCVN 7754:2007 | TCVN 7756-7:2007 |  |  |
|  |  | 4. Levels of formaldehyde through extraction: |  | TCVN 7756-12:2007 |  |  |
|  |  | - Class E1: | Not more than 8 mg/100 g |  |  |  |
|  |  | - Class E2: | From 8 mg/100 g to 30 mg/100 g |  |  |  |
| 8 | Manmade board | 1. Thickness swelling, %, not more than |  | EN 13329:2006(a) | Take at least 4 random full bars from each lot |  |
|  |  | - Residential property | 20 |  |  |  |
|  |  | - Commercial property | 18 |  |  |  |
|  |  | 2. Surface strength, MPa, not less than | 1.00 |  |  |  |
|  |  | 3. Size variation upon changes in humidity, mm, not more than | 0.9 |  |  |  |
| (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. |  |

2.5. Paint, waterproofing and sealant materials

2.5.1. Producers must disclose the level of VOC in paints.

2.5.2. Technical values of paints, waterproofing and sealant materials must be examined in conformity to requirements in Table 2.5.

2.5.3. Test methods for examination of technical values of paints, waterproofing and sealant materials are defined in Table 2.5. Level of VOC is determined according to ISO 17895:2005(a), ISO 11890-1÷2:2007(a).

Tablet 2.5 - Technical requirement for paints, waterproofing and sealant materials

| No. | Product name | Entry | Required value | Required value | Test method | Sampling |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | Emulsion paint for walls | 1. Adhesion (applicable to interior and exterior paints), point, not higher than | 2 | 2 | TCVN 2097:1993 | Take samples as per TCVN 2090:2007 to form at least 2 liters of mixed sample. |  |
|  |  | 2. Scrub resistance of exterior paint, cycle, not less than | 1200 | 1200 | TCVN 8653-4:2012 |  |  |
|  |  | 3. Heat shock resistance of exterior paint, cycle, not less than | 50 | 50 | TCVN 8653-5:2012 |  |  |
| 2 | Portland cement-based skim coat | Adhesion, MPa, not less than | Indoor | Outdoor | TCVN 7239:2014 | Take samples weighed at least 5 kg as per TCVN 4787:2009 |  |
|  |  | - In standard condition | 0.35 | 0.45 |  |  |  |
|  |  | - After 72 hours water soaking | 0.25 | 0.30 |  |  |  |
|  |  | - After the heat shock test | - | 0.30 |  |  |  |
| 3 | Epoxy paint | 1. Dry time (surface), hour, not more than | 6 | 6 | TCVN 2096:1993 | Take samples as per TCVN 2090:2007 to form at least 2 liters of mixed sample |  |
|  |  | 2. Impact resistance strength, kg.cm, not less than | 50 | 50 | ISO 6272-2:2011(a) |  |  |
| 4 | Alkyd paint | 1. Adhesion, point, not higher than | 2 | 2 | TCVN 2097:1993 | Take samples as per TCVN 2090:2007 to form at least 2 liters of mixed sample |  |
|  |  | 2. Flexural strength, mm, not more than | 1 | 1 | TCVN 2099:2013 |  |  |
|  |  | 3. Impact resistance strength, kg.cm, not less than | 45 | 45 | ISO 6272-2:2011(a) |  |  |
| 5 | Modified bituminous waterproofing membranes | 1. Heat resistance | Not melting | Not melting | TCVN 9067-3:2012 | Take samples from at least two random positions to form at least 2 m2 of mixed sample. The minimum length of each sample is 0.5 m while width is unchanged. |  |
|  |  | 2. Active puncture resistance, J, not less than |  |  | TCVN 9067-2:2012 |  |  |
|  |  | - 2 mm in thickness | 2.5 | 2.5 |  |  |  |
|  |  | - 3 mm in thickness | 3.0 | 3.0 |  |  |  |
|  |  | - 4 mm in thickness | 4.0 | 4.0 |  |  |  |
| 6 | PVC waterstop | 1. Tensile strength, MPa, not less than | 11.77 | 11.77 | TCVN 9407:2014 | Take samples from at least three random positions to form at least 1.5 m of mixed sample. The minimum length of each sample is 0.5 m while width is unchanged. |  |
|  |  | 2. Chemical resistance, %: |  |  | TCVN 9407:2014 |  |  |
|  |  | In alkaline environments | Tensile strength variation ± 20 | Tensile strength variation ± 20 |  |  |  |
|  |  | In salt water environments | Tensile strength variation ± 10 | Tensile strength variation ± 10 |  |  |  |
| 7 | Waterproofing polymer-cement-based coating | 1. Adhesion after water soaking, MPa, not less than | 0.50 | 0.50 | BS EN14891:2007(a) | Take at least 2 full bags (for single-component type) or 2 full sets (for double-component type) from one lot. |  |
|  |  | 2. Adhesion after heat aging, MPa, not less than | 0.50 | 0.50 |  |  |  |
|  |  | 3. Crack bridging ability in normal conditions, mm, not less than | 0.75 | 0.75 |  |  |  |
|  |  | 4. Impermeability to water under pressure at 1.5 bar after 7 days | Impermeable | Impermeable |  |  |  |
| 8 | Structural silicone sealant | 1. Weight loss after heat aging, %, not more than | 10 | 10 | TCVN 8267-4:2009 | Take samples from at least three random positions to have at least 3 tubes as mixed sample Take at least 01 tube with intact product seal from each position. |  |
|  |  | 2. Shore A hardness | From 20 to 60 | From 20 to 60 | TCVN 8267-3:2009 |  |  |
|  |  | 3. Adhesion (in standard conditions and after water soaking), KPa, not less than | 345 | 345 | TCVN 8267-6:2009 |  |  |
| (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. | (a) Tests done by foreign standards can adopt national standards upon the announcement of equivalent national standards or citation of such foreign standards. |  |

2.6. Tiles and stone slabs

2.6.1. Technical values of tiles and stone slabs must be examined in conformity to requirements in Table 2.6.

2.6.2. Test methods for examination of technical values of tiles and stone slabs are defined in Table 2.6.

Table 2.6 - Technical requirement for tiles and stone slabs

| No. | Product name | Entry | Required value | Test method | Sampling |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Dry pressed ceramic tiles (a) | 1. Variations in size, shape and surface quality | TCVN 7745:2007 | TCVN 6415-2:2005 | 10 intact tiles |  |
|  |  | 2. Water absorption | As per Table 7 of TCVN 7745:2007 | TCVN 6415-3:2005 |  |  |
|  |  | 3. Flexural strength |  | TCVN 6415-4:2005 |  |  |
|  |  | 4. Abrasion resistance: - Resistance to deep abrasion (for unglazed tiles) |  | TCVN 6415-6:2005 |  |  |
|  |  | - Resistance to surface abrasion (for glazed tiles) |  | TCVN 6415-7:2005 |  |  |
|  |  | 5. Linear thermal expansion |  | TCVN 6415-8:2005 |  |  |
|  |  | 6. Moisture expansion |  | TCVN 6415-10:2005 |  |  |
| 2 | Extruded ceramic tiles (a) | 1. Variations in size, shape and surface quality | As per Table 2 of TCVN 7483:2005 | TCVN 6415-2:2005 | 10 intact tiles |  |
|  |  | 2. Water absorption | As per Table 3 of TCVN 7483:2005 | TCVN 6415-3:2005 |  |  |
|  |  | 3. Flexural strength |  | TCVN 6415-4:2005 |  |  |
|  |  | 4. Abrasion resistance: - Resistance to deep abrasion (for unglazed tiles) |  | TCVN 6415-6:2005 |  |  |
|  |  | - Resistance to surface abrasion (for glazed tiles) |  | TCVN 6415-7:2005 |  |  |
|  |  | 5. Linear thermal expansion |  | TCVN 6415-8:2005 |  |  |
|  |  | 6. Moisture expansion |  | TCVN 6415-10:2005 |  |  |
| 3 | Ceramic tiles - Exterior mosaic tiles | 1. Water absorption | As per Table 3 of TCVN 8495-1:2010 | TCVN 6415-3:2005 | 15 intact tiles |  |
|  |  | 2. Crazing resistance |  | TCVN 6415-11:2005 |  |  |
|  |  | 3. Heat shock resistance |  | TCVN 6415-9:2005 |  |  |
|  |  | 4. Linear thermal expansion |  | TCVN 6415-8:2005 |  |  |
| 4 | Terrazzo tiles | 1. Abrasion resistance | As per Table 4 and 5 of TCVN 7744:2013 | TCVN 7744:2013 | 08 intact tiles |  |
|  |  | 2. Flexural strength |  | TCVN 6355-2:1998 |  |  |
| 5 | Artificial stone slabs based on organic binders | 1. Bending strength, MPa, not less than | 40 | TCVN 6415-4:2005 | 5 samples, size at (100x200) mm |  |
|  |  | 2. Resistance to deep abrasion, mm3, not more than | 175 | TCVN 6415-6:2005 | 5 samples, size at (100x100) mm |  |
|  |  | 3. Scratch hardness, Mohs scale, not less than | 6 | TCVN 6415-18:2005 |  |  |
| 6 | Natural stone slabs | 1. Flexural strength | As per Table 3 of TCVN 4732:2007 | TCVN 6415-4:2005 | 5 samples, size at (100x200) mm |  |
|  |  | 2. Abrasion resistance |  | TCVN 4732:2007 |  |  |
| (a) Size of a batch of ceramic tiles does not exceed 1500 m2. Ceramic tiles (at no 1 and 2 in Table 2.6) are subject to the following requirement for sampling and technical value tests: - Tiles with side length of below 10 cm (in square, rectangular or mesh-mounted forms): tests in three technical values no 2, 5, 6 are required; number of samples: 12 intact tiles or minimum size of 0.25 m2. - Tiles with side length of 10 to 20 cm: tests in four technical values no 2, 4, 5, 6 are required; number of samples: 20 intact tiles or minimum size of 0.36 m2. - Tiles with side length of above 20 cm: tests in all six values no 1, 2, 3, 4, 5, 6 are required; number of samples: 10 intact tiles. | (a) Size of a batch of ceramic tiles does not exceed 1500 m2. Ceramic tiles (at no 1 and 2 in Table 2.6) are subject to the following requirement for sampling and technical value tests: - Tiles with side length of below 10 cm (in square, rectangular or mesh-mounted forms): tests in three technical values no 2, 5, 6 are required; number of samples: 12 intact tiles or minimum size of 0.25 m2. - Tiles with side length of 10 to 20 cm: tests in four technical values no 2, 4, 5, 6 are required; number of samples: 20 intact tiles or minimum size of 0.36 m2. - Tiles with side length of above 20 cm: tests in all six values no 1, 2, 3, 4, 5, 6 are required; number of samples: 10 intact tiles. | (a) Size of a batch of ceramic tiles does not exceed 1500 m2. Ceramic tiles (at no 1 and 2 in Table 2.6) are subject to the following requirement for sampling and technical value tests: - Tiles with side length of below 10 cm (in square, rectangular or mesh-mounted forms): tests in three technical values no 2, 5, 6 are required; number of samples: 12 intact tiles or minimum size of 0.25 m2. - Tiles with side length of 10 to 20 cm: tests in four technical values no 2, 4, 5, 6 are required; number of samples: 20 intact tiles or minimum size of 0.36 m2. - Tiles with side length of above 20 cm: tests in all six values no 1, 2, 3, 4, 5, 6 are required; number of samples: 10 intact tiles. | (a) Size of a batch of ceramic tiles does not exceed 1500 m2. Ceramic tiles (at no 1 and 2 in Table 2.6) are subject to the following requirement for sampling and technical value tests: - Tiles with side length of below 10 cm (in square, rectangular or mesh-mounted forms): tests in three technical values no 2, 5, 6 are required; number of samples: 12 intact tiles or minimum size of 0.25 m2. - Tiles with side length of 10 to 20 cm: tests in four technical values no 2, 4, 5, 6 are required; number of samples: 20 intact tiles or minimum size of 0.36 m2. - Tiles with side length of above 20 cm: tests in all six values no 1, 2, 3, 4, 5, 6 are required; number of samples: 10 intact tiles. | (a) Size of a batch of ceramic tiles does not exceed 1500 m2. Ceramic tiles (at no 1 and 2 in Table 2.6) are subject to the following requirement for sampling and technical value tests: - Tiles with side length of below 10 cm (in square, rectangular or mesh-mounted forms): tests in three technical values no 2, 5, 6 are required; number of samples: 12 intact tiles or minimum size of 0.25 m2. - Tiles with side length of 10 to 20 cm: tests in four technical values no 2, 4, 5, 6 are required; number of samples: 20 intact tiles or minimum size of 0.36 m2. - Tiles with side length of above 20 cm: tests in all six values no 1, 2, 3, 4, 5, 6 are required; number of samples: 10 intact tiles. | (a) Size of a batch of ceramic tiles does not exceed 1500 m2. Ceramic tiles (at no 1 and 2 in Table 2.6) are subject to the following requirement for sampling and technical value tests: - Tiles with side length of below 10 cm (in square, rectangular or mesh-mounted forms): tests in three technical values no 2, 5, 6 are required; number of samples: 12 intact tiles or minimum size of 0.25 m2. - Tiles with side length of 10 to 20 cm: tests in four technical values no 2, 4, 5, 6 are required; number of samples: 20 intact tiles or minimum size of 0.36 m2. - Tiles with side length of above 20 cm: tests in all six values no 1, 2, 3, 4, 5, 6 are required; number of samples: 10 intact tiles. |  |

2.7. Ceramic sanitary ware products

2.7.1. Technical values of ceramic sanitary ware products must be examined in conformity to requirements in Table 2.7.

2.7.2. Test methods for examination of technical values of ceramic sanitary ware products are defined in Table 2.7.

Table 2.7 - Technical requirement for ceramic sanitary ware products

| No. | Product name | Entry | Required value | Test method | Sampling |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Toilet bowl, female urinal | 1. Visible defects and size variation | As per Table 1 of TCVN 6073:2005 | TCVN 5436:2006 | 01 complete product |  |
|  |  | 2. Load bearing capacity, not less than | 3 kN |  |  |  |
|  |  | 3. Surface cleaning | As per Table 7 of TCVN 6073:2005 |  |  |  |
|  |  | 4. Sanitary level of toilet seat |  |  |  |  |
|  |  | 5. Toilet paper flushing performance |  |  |  |  |
| 2 | Wash basin | 1. Visible defects and size variation | As per Table 2 of TCVN 6073:2005 | TCVN 5436:2006 | 01 complete product |  |
|  |  | 2. Load bearing capacity, not less than | 1.5 kN |  |  |  |
|  |  | 3. Drainage | No stagnation |  |  |  |
| 3 | Squat toilet | 1. Visible defects and size variation | As per Table 4 of TCVN 6073:2005 | TCVN 5436:2006 | 01 complete product |  |
|  |  | 2. Toilet paper flushing performance | As per Table 7 of TCVN 6073:2005 |  |  |  |

2.8. Aggregates for concrete and mortar

2.8.1. Natural aggregates must be washed to adjust levels of dust, mud, clay and organic impurities in conformity to Table 2.8.

2.8.2. Technical values of aggregates for concrete and mortar must be examined in conformity to requirements in Table 2.8.

2.8.3. Test methods for examination of technical values of aggregates for concrete and mortar are defined in Table 2.8.

Table 2.8 - Technical requirement for aggregates for concrete and mortar

| No. | Product name | Entry | Required value | Test method | Sampling |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Small aggregates (sand) for concrete and mortar | 1. Granular composition | As per Table 1 of TCVN 7570:2006 | TCVN 7572-2:2006 | Take at least 5 kg apiece from 10 different positions, mix samples then split the mixture in four parts then take one 20-kg part as the test sample |  |
|  |  | 2. Levels of impurities: - Ball clay and impurities in the form of pieces - Levels of dust, mud and clay | As per Table 2 of TCVN 7570:2006 | TCVN 7572-8:2006 |  |  |
|  |  | 3. Organic impurities | Not darker than the standard color | TCVN 7572-9:2006 |  |  |
|  |  | 4. Content of chloride ion (Cl-) (a) | As per Table 3 of TCVN 7570:2006 | TCVN 7572-15:2006 |  |  |
|  |  | 5. Alkali-silica reaction | In innocuous range | TCVN 7572-14:2006 |  |  |
| 2 | Coarse aggregates (crush stone, gravel, crushed gravel) for concrete | 1. Granular composition | As per Table 4 of TCVN 7570:2006 | TCVN 7572-2:2006 | Take samples from at least 10 positions The mixed sample must be at least 60 kg |  |
|  |  | 2. Grade of crush stone | As per clause 4.2.3 of TCVN 7570:2006 | TCVN 7572-10:2006 TCVN 7572-11:2006 |  |  |
|  |  | 3. Crushing value in cylinder for gravel and crush gravel | As per Table 7 of TCVN 7570:2006 |  |  |  |
|  |  | 4. Levels of dust, mud and clay | As per Table 5 of TCVN 7570:2006 | TCVN 7572-8:2006 |  |  |
|  |  | 5. Organic impurities in gravel | Not darker than the standard color | TCVN 7572-9:2006 |  |  |
|  |  | 6. Content of chloride ion (Cl-), not more than (a) | 0,01% | TCVN 7572-15:2006 |  |  |
|  |  | 7. Alkali-silica reaction | In innocuous range | TCVN 6017:1995 2006 |  |  |
| 3 | Crushed sand for concrete and mortar | 1. Granular composition (b) | As per Table 1 of TCVN 9205:2012 | TCVN 7572-2:2006 | Take at least 5 kg apiece from 10 different positions, mix samples then split the mixture in four parts then take one 20-kg part as the test sample |  |
|  |  | 2. Level of grains whose size is below 75 µm (b) | As per clause 3.5 of TCVN 9205:2012 | TCVN 9205:2012 |  |  |
|  |  | 3. Level of clay particles, %, not more than | 2 | TCVN 344:1986 |  |  |
|  |  | 4. Content of chloride ion (Cl-), not more than (a) | As per Table 2 of TCVN 9205:2012 | TCVN 7572-15:2006 |  |  |
|  |  | 5. Alkali-silica reaction | In innocuous range | TCVN 7572-14:2006 |  |  |
| (a) Aggregates whose content of Cl- exceeds the regulated value are permissible if the total content of Cl- from all constituents in 1 m3 of concrete does not exceed 0.6 kg for normal reinforced concrete or 0.3 kg for prestressed reinforced concrete. (b) Crushed sand, whose level of fractions passing 140-µm and 75-µm sieves, does not comply with the requirement is permissible if test results indicate no harms against the quality of concrete and mortar. | (a) Aggregates whose content of Cl- exceeds the regulated value are permissible if the total content of Cl- from all constituents in 1 m3 of concrete does not exceed 0.6 kg for normal reinforced concrete or 0.3 kg for prestressed reinforced concrete. (b) Crushed sand, whose level of fractions passing 140-µm and 75-µm sieves, does not comply with the requirement is permissible if test results indicate no harms against the quality of concrete and mortar. | (a) Aggregates whose content of Cl- exceeds the regulated value are permissible if the total content of Cl- from all constituents in 1 m3 of concrete does not exceed 0.6 kg for normal reinforced concrete or 0.3 kg for prestressed reinforced concrete. (b) Crushed sand, whose level of fractions passing 140-µm and 75-µm sieves, does not comply with the requirement is permissible if test results indicate no harms against the quality of concrete and mortar. | (a) Aggregates whose content of Cl- exceeds the regulated value are permissible if the total content of Cl- from all constituents in 1 m3 of concrete does not exceed 0.6 kg for normal reinforced concrete or 0.3 kg for prestressed reinforced concrete. (b) Crushed sand, whose level of fractions passing 140-µm and 75-µm sieves, does not comply with the requirement is permissible if test results indicate no harms against the quality of concrete and mortar. | (a) Aggregates whose content of Cl- exceeds the regulated value are permissible if the total content of Cl- from all constituents in 1 m3 of concrete does not exceed 0.6 kg for normal reinforced concrete or 0.3 kg for prestressed reinforced concrete. (b) Crushed sand, whose level of fractions passing 140-µm and 75-µm sieves, does not comply with the requirement is permissible if test results indicate no harms against the quality of concrete and mortar. | (a) Aggregates whose content of Cl- exceeds the regulated value are permissible if the total content of Cl- from all constituents in 1 m3 of concrete does not exceed 0.6 kg for normal reinforced concrete or 0.3 kg for prestressed reinforced concrete. (b) Crushed sand, whose level of fractions passing 140-µm and 75-µm sieves, does not comply with the requirement is permissible if test results indicate no harms against the quality of concrete and mortar. |  |

2.9. Windows and doors

2.9.1. Technical values of doors and windows must be examined in conformity to requirements in Table 2.9. Fire-resistance rating of windows and doors installed in fire prevention areas must conform to Article 2.4 of QCVN 06:2010/BXD.

2.9.2. Test methods for examination of technical values of windows and doors are defined in Table 2.9.

Table 2.9 - Technical requirement for windows and doors

| No. | Product name | Entry | Required value | Test method | Sampling |
| --- | --- | --- | --- | --- | --- |
| 1 | Doors and windows with uPVC frames | 1. Wind resistance | As per Table 3 of TCVN 7451:2004 | TCVN 7452-3:2004 | Take 03 random products from the batch |
|  |  | 2. Watertightness |  | TCVN 7452-2:2004 |  |
|  |  | 3. Strength of welded corners for uPVC profiles, MPa, not less than | 25 | TCVN 7452-4:2004 |  |
| 2 | Wooden windows and doors | 1. Wind resistance | As per Table 3 of TCVN 9366-1:2012 | TCVN 6017:1995 | Take 03 random products from the batch |
|  |  | 2. Watertightness | No water leakage | TCVN 7452-2:2004 |  |
|  |  | 3. Impact resistance | As per Table 3 of TCVN 9366-1:2012 | Annex C of TCVN 9366-1:2012 |  |
| 3 | Metal windows and doors | 1. Wind resistance | As per Table 2 of TCVN 9366-2:2012 | TCVN 7452-3:2004 | Take 02 random products from the batch |
|  |  | 2. Watertightness | No water leakage | TCVN 7452-2:2004 |  |

2.10. Masonry materials

2.10.1. Technical values of masonry materials must be examined in conformity to requirements in Table 2.10.

2.10.2. Test methods for examination of technical values of masonry materials are defined in Table 2.10.

Table 2.10 - Technical requirement for masonry materials

| No. | Product name | Entry | Required value | Test method | Sampling |  |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Clay burnt brick | 1. Compressive and bending strength | As per Table 3 of TCVN 1451:1986 | TCVN 6355-2÷3:2009 | Take 50 random bricks from each lot |  |
|  |  | 2. Water absorption, % | Above 8 and below 18 | TCVN 6355-4:2009 |  |  |
| 2 | Hollow clay brick | 1. Compressive and bending strength | As per Table 3 of TCVN 1450:2009 | TCVN 6355-2÷3:2009 | Take 50 random bricks from each lot |  |
|  |  | 2. Water absorption, %, not more than | 16 | TCVN 6355-4:2009 |  |  |
|  |  | 3. Thickness of shell and web, mm, not less than | 10 | TCVN 6355-1:2009 |  |  |
|  |  | - Shell of void areas |  |  |  |  |
|  |  | - Web of void areas | 8 |  |  |  |
| 3 | Concrete brick | 1. Compressive strength, MPa | As per Table 4 of TCVN 6477:2011 | TCVN 6477:2011 | Take 10 random bricks from each lot |  |
|  |  | 2. Water absorption, % |  |  |  |  |
| 4 | Lightweight concrete - Autoclaved aerated concrete bricks (AAC) | 1. Compressive strength | As per Table 3 of TCVN 7959:2011 | TCVN 7959:2011 | Take 15 random bricks from each lot |  |
|  |  | 2. Dry volumetric weight |  |  |  |  |
|  |  | 3. Drying shrinkage, mm/m, not more than | 0.2 |  |  |  |
| 5 | Lightweight concrete - Foam concrete, non-autoclaved aerated concrete | 1. Compressive strength | As per Table 4 of TCVN 9029:2011 | TCVN 9030:2011 | Take 15 random bricks from each lot |  |
|  |  | 2. Dry volumetric weight |  |  |  |  |
|  |  | 3. Drying shrinkage, mm/m, not more than | 3 |  |  |  |

Part 3.

MANAGEMENT REGULATION

3.1. Certification and announcement of conformity

3.1.1. The conformity of products and goods of building materials with technical requirements in Part 2 must be announced according to the certification of conformity by conformity certifying bodies that are designated or accredited by the Ministry of Construction.

3.1.2. Conformity assessment method

3.1.2.1. Producers and importers of products and goods of building materials can use the Assessment Method 5 or Assessment Method 7 according to the Circular No. 28/2012/TT-BKHCN dated 12 December 2012 by the Ministry of Science and Technology on announcement of compliance and conformity and methods for assessment of conformity with technical standards and regulations.

3.1.2.2. Certification of conformity through Method 5:

- It is applicable to products of a manufacturer that possesses a certificate of quality management system under ISO 9001.

- Effective duration of the certificate of conformity: 01 year for imports and 03 years for products assessed at their place of production and supervised annually by testing of samples taken from the place of production or the market.

3.1.2.3. Certification of conformity through Method 7:

- It is applicable to each batch of products manufactured or imported and tested with regard to their quality through a representative sample taken from the batch.

- A certificate of conformity shall only applies to one batch of products.

3.1.3 Sampling method, specification and amount of typical samples

3.1.3.1. Typical sampling method adheres to current national standards on methods for taking and preparation of samples for relevant products.

3.1.3.2. Specification and amount of typical samples for each product batch shall adhere to the tables in Part 2.

3.1.4. Imported cement clinker, cement, admixtures for concrete and mortar shall be cleared from customs temporarily after the result of tests on typical samples is available and shows compliance with technical requirements in Table 2.1 and Table 2.3. However, the result of the test for compressive strength of samples after 7 days is not required.

A batch of products shall only be announced to have attained conformity and be eligible for use and sale in the market upon the compliance of all test values, including results of tests after 7 days, with the requirements.

3.1.5. Procedures for certification and announcement of conformity and marking shall be governed by regulations on certification and announcement of conformity and relevant laws.

3.2. Packaging, labeling, transport and storage

3.2.1. Label must be affixed on every product packaging; however, equivalent information for non-packaged products shall be indicated on a certificate of quality. Product labeling shall adhere to current legal regulations on labeling of products and goods.

3.2.2. Product standards shall define regulations on packaging (for products bagged, packaged or boxed), transport and storage.

3.3. Enforcement

3.3.1 Department of Science, Technology and Environment shall be the lead organization of the Ministry of Construction in measurement and standardization. It shall be responsible for guiding and organizing the enforcement of this Regulation and for managing conformity assessments.

3.3.2. Department of Building materials under Ministry of Construction, provincial departments of construction and relevant agencies shall be responsible for managing the quality of products and goods of building materials produced and imported according to this Regulation and current laws.

3.3.3. Customs authorities shall be responsible for verifying conformity certificates of imports before customs clearance.

3.3.4. Difficulties during the enforcement of this Regulation shall be reported to the Department of Science, Technology and Environment - Ministry of Construction for guidelines and solutions.